## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: ENGINEER MEMBER
Name of Work: DEVELOPMENT OF SECOND BEACH AT GOPALPUR ON SEA.
Contract No: EM-BeDA-35-2025/26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | CIVIL WORKS. | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earthwork in excavation of foundation trenches in Sandy Earth including dressing of sides and leveling the bed up to the required depth and depositing the excavated materials away from the work site with all leads and lifts, including shoring, shuttering and dewatering (if required) with cost of labour, hire & running charges of water pumps sundries & T&P required for the work complete as directed by the Engineer-in-charge. | BI01010001010000000000000515BI0100001113 | 9199.456 | Cum | 206 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Earthwork in excavation in all types of soil for site leveling, foundation, pits, trenches and other civil works upto and including 1.5metre depth and stacking the soil upto a lead of 100 metre and including dewatering, removing slush, shoring and shuttering (as required), complete as per specification and as directed by the Engineer-In-Charge. |  | 472.5 | Cum | 304.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | Driving & Errecting 375mm dia Double under reamed Pile foundation of length 6.0 mtr Long with RCC M-30 using 12 mm black hard granite (crusher broken) stone chips including cost of boreholes, Casting & bentonite power, all material, labour, T&P but excluding cost of steel reinforcement and labour chrages for cutting, bending and binding of steel. etc. complete as per direction of Engineer-in-charge. |  | 377 | Nos | 11733.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | Driving & Errecting 300mm dia Single under reamed Pile foundation of length 4.5 mtr Long with RCC M-30 using 12 mm black hard granite (crusher broken) stone chips including cost of boreholes, Casting & bentonite power, all material, labour, T&P but excluding cost of steel reinforcement and labour chrages for cutting, bending and binding of steel. etc. complete as per direction of Engineer-in-charge. |  | 1530.167 | Rmt | 1121.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | Filling at all depth with available excavated earth (excluding rock) in trenches, plinth, sides of foundations, road, site development etc. in layers not exceeding 15cm in depth: consolidating each deposited layer byramming and watering complete (lead upto 100m) as directed by the Engineer-In-charge. |  | 312.23 | Cum | 114.477 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | Supplying and filling in foundation trenches and plinth, ditches with sand well watered and rammed in layers not exceeding 23 cm. in depth with all lead and lift including cost, conveyance, loading, unloading, royalties and taxes of all materials, cost of all labour,labour cess, sundries, T&P required for the work etc. complete in all respect as per direction by the Engineer in charge. (Measurement will be taken on finished compacted section only). |  | 1165.835 | Cum | 1939.076 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | Construction of granular sub-base by providing close graded granular sub base Grading-IV material as per table 400-1, spreading in uniform layers with motor grader on prepared surface, mixing by mix in place method with rotavator at OMC, & compacting with vibratory roller to achieve the desired density complete as per Clause 401 of MoSRT & H Specifications for Road & Bridge works (4th Revision) A.R.Page-160 & Item no.39 |  | 495 | Cum | 1546.125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | Providing & laying spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, laying in uniform layers with paver in sub base/base course on well prepared surface and compacting with vibratory roller to achieve the desired density as per Clause 406 of MoSRT&H Specifications for Road & Bridge works. (4th Revision) A.R.Page-166 & Item no.42 |  | 495 | Cum | 2111.425 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | Providing and laying plain cement concrete of proportion (1:3:6) in foundation and floors using 4 cm. size black hard crusher broken granite stone metal and screened and washed sharp sand for mortar of approved quality and from approved quarry including hoisting, lowering, laying concrete, ramming, watering and curing etc. complete to required levels laid in layers not exceeding 15 cm. thick in each layer including cost, conveyance, royalties of all materials and cost of all labours,labour cess, T&P etc complete as per the direction of the Engineer-in-charge. |  | 636.471 | Cum | 6891.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | First class Fly ash Brick masonry using bricks of size 23cm. x 11cm. x 8 cm. having crushing strength not less than 35kg. Per. Sqr. Cm. in cement mortar of mix (1:6) with ordinary Portland slag cement(PSC) and screened & washed sand for mortar after immersing the bricks for 6 (Six) hours in water before use in Foundation & Plinth including splays cutting, circular moulding, corbelling, chamfering and similar such type of works, watering and curing etc. including cost, conveyance, loading, unloading, royalties and taxes of all materials, cost of all labour, scaffolding, sundries, T&P required for the works etc. complete in all respect as directed by the Engineer-In-Charge. at all floors and all heights. |  | 41.073 | Cum | 6093.154 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | Providing, lifting, hoisting and laying Reinforced cement concrete of M-30 grade as per approved designs and drawings having a minimum compressive strength (in work test) 30 Kg. / Square cm. in 15 cm. cubes at 28 days after mixing and test conducted in accordance with I.S. 516 using 12 mm. to 20 mm. size black hard crushed broken granite stone chips and screened and washed sharp sand for mortar of approved quality from approved quarry, washed and cleaned ( 20mm. size chips not to exceeds 25 % ) to be mixed in concrete mixture with Portland slag cement 53 grade (PSC) including hoisting, lowering, laying and compaction concrete by using vibrators, watering and curing for 28 days, centering and shuttering then after dismantling and removing debris from the work site and finishing the exposed surface smooth providing grooves or beads wherever necessary including cost, conveyance, loading, unloading, royalties and taxes of all materials and cost of all labours, sundries, T & P required of the work etc. complete in all respect as directed by the Engineer-in-Charge. But excluding cost and conveyance of M.S. rods or Tor steel and binding wires and labour charges for straightening, cutting, bending etc. of M.S. rods or tor steel tying the grills and placing in proper position.(i) Pile Cap |  | 230.213 | Cum | 7802.921 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | (ii) Tie beam |  | 15.431 | Cum | 8680.608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | (iii) Column up to Tie Lvl. |  | 62.224 | Cum | 17118.129 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | Fabrication and manufacturing of Solid precast concrete element with provisions of shera keys, connecting loops, dowel tubes and proper lifting accessories for walls, beamss, slabs, stairs, column etc, of various thickness, shape and size of different concrete grades manufactured in controlled factory environment with approved methodology including moulds (Pallet system, Tilts form, table moulds, battery moulds, vertical moulds Facade mould, etc.), mixing, transporting and placing of concrete, vibrating, curing, finishing, making necessary cutout/holes of required size for services, yard handling & Stacking all complete as per IS 11447:1985 and as per approved shop drawings and design mix as per the direction of Engineer-In-Charge.(Cost of reinforcement, Mechanical, Electrical and Plumbing inserts will be paid separately). Concrete grade M-35 |  | 124.08 | Cum | 19488.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | Supplying Cutting, straightening coiled or bent up M.S. Rod or tor steel of primary steel producers such as SAIL / Tiscon / RINL / JINDAL STEEL / SHYAM STEEL/ Rungta Steel/ Reliable Sponge/ Scan Steel/ SMC Power Generation/Shyam Metalics & Energy (grade Fe-500D) etc. including bending, binding, welding and jointing if necessary and tying the grills and placing in position as required for R.C.C. Work and for providing fan hooks as required, hoisting, lowering, laying including cost, conveyances of M.S. Rod or tor steel and binding wires of 18 to 20 gauge and labour required for the work for bending, binding and tying the grills in all floors with labour cess etc. (payment will be made on standard weight of B.I.S. for M.S. Rods or tor steel only) etc. complete as per specification & direction of Engineer-in-charge. |  | 673.317 | Qntl | 8615.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | Providing 16 mm thick cement plaster with cement mortar of mix (1:6) with screened and washed sharp sand for mortar and finished smooth to the rough surface of walls in all heights after racking out joints including watering and curing, rounding of corners, providing grooves where ever necessary with cost, conveyance, royalties of all materials with cost of all labour,labour cess, T&P, and scaffolding required for the work etc. complete in all respect as directed by the Engineer in charge. |  | 117.72 | Sqm | 296.687 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | Providing and applying to outside walls with one coat Primer, well finished Putty and two or more coats of Anti-Fungal Weather coat water proofing paint make & shade manufactured by reputed manufacturer like NEROLAC / ASIAN / BERGER / DULOX or equivalent including scaffolding and cleaning the surface before application of approved colour and manufacture as per specification, instruction of Engineer-In-charge at all elevations including all material labour complete at all floors and all heights. |  | 117.72 | Sqm | 265.191 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | Supply & Installation of circular/square Jodhpur Sandstone Solid Column:- Jodhpur Sand Stone (Beige Colour) Columns of minimum dia of 350mm or 350X350 mm and minimum height of 1000mm jointing together with key hole and chemical joints up to a desired height |  | 81.139 | Cum | 86534 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | Design, Structural Vetting, supply fabrication, delivery and erection of Double Skinned Ferro Cement Structure of Height up to 8.0 mtr considering wind load as per site condition finishing & colouring the external surface to required shape,size & Texture excluding foundation, including epoxy coated required reinforcement,epoxy coated steel support framework, including single use Flexi Ply shuttering, hardware and final finishing with epoxy paint and PU coating to all exposed steel Sections etc complete including cost of materials, labours. |  | 1330 | Sqm | 6456 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | Providing and fixing 20mm (above 40 sqm) thick Granite stone flooring (sample of Granite stone should be approved by Engineer-In-Charge) for Floor and similar locations where ever required in horizontal/vertical surfaces of required size of approved shade, colour and texture, with moulding edge etc. laid over 20mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand) with joints treated with white cement mixed with matching pigment, epoxy touch ups including rubbing, curing, moulding and polishing to give high gloss finish etc. complete as per direction of Engineer-in-charge at all floors and all heights. |  | 64.16 | Sqm | 2877.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | Providing and laying Matte Finish Vitrified floor tiles 600x600 mm (thickness to be specified by the manufacturer) minimum thickness 8-10mm 1st quality conforming to IS: 15622 of NITCO, SOMANY, ASIAN, KAJARIA or equivalent approved make, colours & shades, except white, ivory, grey, fume red brown, laid on 20 mm thick cement mortar 1:4 (1cement:4coarse sand) including pointing the joints with white cement and matching pigments, etc. complete as per direction of Engineer-In-Charge at all floors and all heights |  | 141.564 | Sqm | 1089.469 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | Providing and fixing 1st quality Ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer) minimum thickness 5-6mm of NITCO, SOMANY, ASIAN, KAJARIA or equivalent approved make in all colours, shades except burgundy, bottle green, black of size 300x450mm or 300x200mm in skirting and dados over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with pigment of matching shade complete as per direction of Engineer-In-Charge at all floors and all heights. |  | 193.44 | Sqm | 1067.746 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | Supplying & Fixing of Pre Cast Kerb Stone of Size 600X300X150mm of M-30 Grade of approved Make, Design, Colour and Size made by Block making machine with proper compaction fixed in required pattern etc. complete in all respect conforming to IS 5758:1984. |  | 30261 | Nos | 249.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | Supplying and fixing of 80mm thick cement concrete interlocking paver block of M-40 grade of approved make, design, colour and size made by Block making machine with proper compaction laid in required pattern etc. complete in all respect conforming to IRC SP - 63:2018 as per drawing, specification and direction of Engineer-In-charge. |  | 24627 | Sqm | 608.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.25 | Supplying and fixing of 60mm thick cement concrete interlocking paver block of M-30 grade of approved make, design, colour and size made by Block making machine with proper compaction laid in required pattern etc. complete in all respect conforming to IRC SP - 63:2018 as per drawing, specification and direction of Engineer-In-charge. |  | 2400 | Sqm | 485.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.26 | Providing and laying Flamed finish/Leather finish Granite stone Flooring or any surfaces, of structure in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 40mm thick stone slab over 50mm sand lev Bed including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge : Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent etc. complete all at all floors and all heights. |  | 60 | Sqm | 4347 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.27 | Providing and laying Sand blasted 40mm thick Jodhpur Sand stone Flooring or any surfaces of structure in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 40mm thick stone slab over 50mm sand lev Bed including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge : Natural Sand stone slab approved colour or equivalent etc. complete all at all floors and all heights. |  | 60 | Sqm | 3270 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.28 | 65mm Cement Cobble Stone Flooring.:- Providing and fixing Cubble stone Tiles size 110x110x65mm (M-40) of use in Pathway, Road, or any similar locations where ever required in all surfaces of approved shade, colour and texture edge etc. laid over leble coarse sand up to thickness of 50mm etc. complete including all materials, sand, Labour etc. as per direction of Engineer-In-Charge at all floors and all heights. |  | 8100 | Sqm | 1291.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.29 | Providing & Fixing of 24-26mm thick WPC Board (STEMWUD/ALWUD) with following specification High Density Polyethylene(HDPE)-30%, Wood Fibre Powder-60%, Filling-4.5%, PE additives-4%, Antimicrobial Agents-0.2&, Antioxidant-0.5%, Master Batch-0.8%, Density--1.30g/CBM, Tensile strength-28Mpa, Modulus of Elasticitypsi-2721Mpa, Modullus of Rupture-4.01 psi, Flexural strength psi-40.8 Mpa(as per ASTM D790-10 procedure A), Water Absorption-0.0025(as per ASTM D570-98-2010),Termite Resistance-Mothproof,Fungal resistance,Abrasion resistance-0.05g/100r. installation in stainless steel clips and screws with wpc or aluminium support joints ,of Aluminium box section batten 25x50mmx1.5mmm filled with wooden battens, use in Flooring with all fittings, aluminium Channel, Nilon Clips,stainless steel clips, Transportation, Fixture, Frame, Wooden battern, Structure etc. complete as per specification and direction of Engineer-in-Charge. |  | 3190 | Sqm | 7101 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.3 | WPC Outdoor hand Rail Raling (1250mm Ht) :- Providing & Fixing of WPC Railling(STEMWUD/ALWUD) with (120x120) Columns, (100x50)beam, (50x50)small column, Column Skirt matched, Column cap matched, Steel Column matched, (100x50) Plastic fastner, small plastic fastner matched, (32x4)mm Screw, (80x8/)mm expansion bolt, etc all complete complete as per specification and direction of Engineer-in-Charge. |  | 700 | Rmt | 7208 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.31 | Providing & making Gabion structure with Mechanically Woven Double Twisted Hexagonal Shaped Wire mesh Gabion Boxes as per IS 16014:2012,MORTH Clause 2500, of required size, Mesh Type 10x12(D=100 mm with tolerance of ±2%), Zinic+10% Al alloy+PVC coated, Mesh wire diameter 2.7/3.7mm (ID/OD), mechanically edged/ selvedged with partitions at every 1m interval and shall have minimum 10 numbers of openings per meter of mesh perpendicular to twist, tying with lacing wire of diameter 2.2/3.2mm(ID/OD), supplied @3% by weight of Gabion boxes, filled with boulders with least dimension of 200 mm, as per drawing, all complete as per directions of Engineer-in-charge. CPWD-2023/Sl..No-16.96/P-262. |  | 328.5 | Cum | 4882.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.32 | Factory made Solid WPC door frame of size 95mmx55mmfabricated .The door frame consist of four segments which areprovided with plug-in-socket arrangement in-situ in the mould.The segments are plugged in and are joined together by meansof screw. The WPC frame shall be provided with The material and process for manufacturing the door frames shall conform to Relavent I.S.specification. The finish of door frame will be plain colour white/ Ivory/ Beige/ Light grey/ Golden brown/Mahogany/ Teak wood/sand stone/Champagne/Pastel blue or any other colour using high quality pigments complete in all respect as per specification and direction of the Engineer in charge |  | 22 | Rmt | 2015 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.33 | Factory made single leaf Solid WPC (Wood polymer) composite door shutter of 25mm thickcompacted with wood grain finish structural foam panel of 29mm thickness and a density of 20kg/cu.mtr shall be used as core material for fitting the metal fittings such as tower bolts, aldrops, handles etc shall be provided. A structural adhesive compatible with (EPS) foam shall be used for bending the core material, The material and process for manufacturing the door shutters shall conform to RV-TIFAC composites Design Centre's standards and specifications and the door shutters Conforming to relevant I.S.specification. The finish of door shutter will be plain colour white/ Ivory/ Beige/ Light grey/ Mahogany/ Teak wood or any other colour using high quality pigments. Three heavy whight mild steel butt hinges type-I (ISI marked) size 100mm are to be fitted on one side of shutter. |  | 10.08 | Sqm | 5050 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.34 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN:12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD specification, uPVC extruded glazing/wire mesh beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 gade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame, the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Enginee-in-Charge. Two track two panels sliding window with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Site with basic wind speed > 45 m/sec as per IS 875 - Part 3 (ii) Sites with structure height more than 20m for all wind speeds |  | 23.04 | Sqm | 8298.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.35 | Providing and fixing M.S grill of required patterns for windows/verandahs etc. with M.S flats, square or round bars etc. including applying a coat of approved steel primer and two or more coats of synthetic enamel paint of approved make & shade, all complete as per drawing & specification. (All steel sections contractor's own supply). |  | 622.08 | Kg. | 68.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.36 | Priming one coat with wall cement primer (water bound) to make an even finished surface in all floors and heights to wall surface of approved make and shade including sand papering, applying putty wherever necessary & cost of scaffolding, staging charges with cost, conveyance, cost of all labour,labour cess T&P etc. complete as per the direction of the Engineer-in-charge. (Make: Asian/ Berger/ Dulux/ ICI or equivalent make duly approved by Engineer-in-Charge) |  | 1066.38 | Sqm | 82.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.37 | Painting two coats with approved antifungal weather seal paints (ISI) of approved colour, shade on wall surface including sand papering, polishing the surface, cost, conveyances, taxes of all materials and cost of all labour,labour cess with T&P etc, complete as per specification & direction of Engineer-in-charge. (Make: Asian/ Berger/ Dulux/ ICI or equivalent make duly approved by Engineer-in-Charge) |  | 372.24 | Sqm | 97.321 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.38 | Painting two coats with plastic emulsion paint "Royal Shyne" to make an even finished surface in all floors and heights to wall surface of approved make and shade including sand papering, applying putty wherever necessary & cost of scaffolding, staging charges with cost, conveyance, cost of all labour,labour cess, T&P etc. complete as per the direction of the Engineer-in-charge. (Make: Asian/ Berger/ Dulux/ ICI or equivalent make duly approved by Engineer-in-Charge) |  | 694.14 | Sqm | 108.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.39 | Finishing plastered wall surface with acrylic wall putty (Water based) of approved make (JK White/ Birla white or equivalent make duly approved by Engineer-in-Charge) and finishing the surface smooth and even by sand papering to receive painting in walls, at all heights with staging wherever necessary with cost, conveyance, cost of all labour,labourcess, all T&P etc. required for the work complete in all respect as per the direction of the Engineer-in-charge. |  | 694.14 | Sqm | 85.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.4 | Painting two coat with approved synthetic enamel paint to new iron work over a coat of Red oxide primer including cost, conveyances, royalties of all materials and cost of all labour with T&P required for the work etc. complete as per specification & direction of Engineer in charge. (Make: Asian/ Berger/ Dulux/ ICI or equivalent make duly approved by Engineer-in-Charge). |  | 22342.57 | Sqm | 188.826 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.41 | Providing, Transporting, Fabricating and Fixing in position, epoxy coated over priming with anti rust paint MS Square Hollow tube, Rectangulat Hollow Tube, Circulat Tube, Angles, Channels in Roof and Walls Etc. Complete etc. complete as per drawing, as directed by consultant. Rate shall include all Material, labour, accessories, safety measures, tools, equipment’s, transportation, erection to the satisfaction of consultant, etc. complete. |  | 11728.74 | Kg. | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.42 | Providing and fixing 12mm thick fibre Cement board in wall over M.S Framework duly screwed, fixed into framework along with waterprofing treatment to joints including required Stagging upto an height of 5Meter & also including cost of all material, all labour, scaffolding, transportation, erection but including GST etc. complete as per specification and as directed by Engineer-in-charge. Brand : Shera or equivalent. |  | 1054.76 | Sqm | 1385.888 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.43 | Supplying, fitting and fixing of Stainless steel of 316 grade in hand railing using 50mm dia of 2mm thick circular pipe with Balustrade of size 32mm x 32mm x 2mm @ 0.90mtr. C/C and stainless square pipe bracing of size 32mm x 32mm x 2mm in 3 rows in stair case as per approved design and specification, buffing, polishing etc with cost, conveyance, taxes of all materials, labour, T&P etc. required for the complete in all respect. |  | 287.65 | Kg | 480 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.44 | FRESH COLOR RESTROOM CUBICLES SYSTEM :- Providing and fitting of Fresh color restroom cubicles systems . Thickness of compact laminate 12mm .Color of HPL boards is Single color .Size of Cubical As per drawing (w)-1200mm (D)-2400MM ,Door size is 1925mm (H) X 750mm (W) ,Divider Size is 1945mm (H) or as per required sise Overall Height pf cubicale is 2100mm including bottom gap of 100mm .Accessories: Standard -Merino Make & Stainless steel -304 Grade accessories are SS "U" Channel, SS "F" Channel ,SS COAT HOOK, SS Privacy thumb turn c/w Occupancy Indicatoe, SS Door Knob,SS Hinges with Cover,SS Shoe Box leg 1800-316 Grade, Rubber lining for grove, SS Screws 304 G & P.V.C wall plugs,SS top rail. Warpage criteria is 3.0mm/1000mm for MRS panels as per EN standard-438 complete all as per direction of the Engineer-In-Charge at all floors and all heights. |  | 28 | Unit | 40000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.45 | URINAL MODESTY PANEL SYSTEMS.:- Providing & fitting of washbasin partition by fresh color UMP Systems.That model type is UMP SS series thickness of compact laminate is 12mm ,color of HPL boards is single color.Size of UMP 500mm (w) X 1200mm (H) Overall height of cubicle 1850mm & including bottome gap of 650 mm.Accessories :standard-Merino Make Stainless steel-304 Grade accessories are Right Angle brackets, S.S. Screws 304G & P.V.C Wall plugs .Special note-Warpage criteria is 3.0mm/1000mm for MRS penels as per EN standard - 438) as per diriction of Engineer-in-charge. |  | 8.06 | Sqm | 6500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.46 | Providing and fixing to floor PVC pipe Plastic Pipes Schedule-80 as per ASTM-D-1785/2004 and pipe fittings of the following nominal bore all complete as per Direction of the Engineer-In-Charge. (i) 300 mm dia. |  | 413.6 | Rmt | 3457.705 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.47 | (ii) 160mm dia |  | 574.5 | Rmt | 1748.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.48 | (iii) 100mm dia |  | 2484 | Rmt | 916.272 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.49 | (iv) 150mm T-bend |  | 10 | Nos | 250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.5 | (v) 100mm T-bend |  | 10 | Nos | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.51 | (vi) 100mm End-Cap |  | 10 | Nos | 150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.52 | (vii) 300-150mm Reducer |  | 10 | Nos | 450 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.53 | Supplying and fixing GI PVC Coated jally with 2 mm GI and 1mm PVC thickness as per drawing and specification including cost of transportation, fittings, fixing etc. complete. |  | 1242 | Sqm | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.54 | Supplying and fixing GI Clamps as per requirement. |  | 6624 | Nos | 30 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.55 | Dismantling and removing cement concrete including stacking the useful materials for reuse and removing the debris within 50m lead. |  | 189 | Cum | 858.581 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.56 | Dismantling and removing old tiled flooring including removing the base coarse and stacking the useful materials for reuse and removing the debris within 50m lead |  | 1260 | Sqm | 144.301 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.57 | Providing, Transporting, Fabricating and Fixing in position, PU finished G.I /M.S. Square Hollow tube, Rectangular Hollow Tube, Circulat Tube, Angles, Channels in all areas/works Etc. Complete etc. complete as per drawing, as directed by consultant. Rate shall include all Material, labour, accessories, safety measures, tools, equipment’s, transportation, erection, Red oxide primer, to the satisfaction of consultant, etc. complete. |  | 4576.6 | Kg. | 175 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.58 | FRAME work : Design, drawings, supply, fabrication, & Erection of MS modular frame structure to cover area as shown in drawing. MS hollow Pipe Thickness as per structural design. Length as per module including Paints of approve colour. Nodes: Rectangular/Square/Round, Hollow/Solid Nodes as per design. The Item including design, procurement, fabrication, welding, priming with antirust paint,Epoxy coating , supply, erection, etc. complete as per drawing, as directed by consultant. Rate shall include all Material, labour, accessories, safety measures, tools, equipment’s, transportation, erection to the satisfaction of consultant, etc. complete. |  | 51498.15 | Kg. | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.59 | G.I Sheet of 1.2mm THICK over steel frame structure . The Item including design, procurement, fabrication, welding, priming and colouring with enamel painting, supply, erection, etc. complete as per drawing, as directed by consultant. Rate shall include all Material, labour, accessories, safety measures, tools, equipment’s, transportation, erection to the satisfaction of consultant, etc. complete. |  | 48020.341 | Kg. | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.6 | Providing and fixing 3 mm thk. Roofing Singles (Saintgobain/Techninicol including required Stagging upto an height of 5Meter & also including cost of all material, all labour, scaffolding, transportation, erection etc. complete as per specification and as directed by Engineer-in-charge. |  | 1377.5 | Sqm | 1721.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.61 | Dry Granite Platform.: - Providing, fitting and fixing 20 mm Granite Stone tile Shop Platform (above0.4sqm) in approved size, pattern, design, shade, Colour. The fixing of screens should be Dry fixing i.e. to be done with M.S Galvanized clamps, fixtures and fasteners of Hilti/fischer etc complete all as direction of the Engineer-In-charge at all floor & all height. |  | 132 | Sqm | 2690 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.62 | Full Height Stainless Steel Rack Open/Lock Storage Unit:- Providing & Putting Stainless Steel Brand Dixon Surface Finish painted Height- 2Mtr, Nos of Layer-6nos, Load as per Layer 50 Kg. (Make-Featherlite/Godrej or equivalent) |  | 100 | Each | 10750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.63 | Movable Wheels with all accesories for shop. |  | 400 | Each | 2000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.64 | HPL Cladding :-Supplying and fixing of Merino/Fundermax/Fenixia/equivalent Clades of standard dimension of 1300mm x 3050mm of thickness 6mm. (WOOD FINISH) for fixing used As per the standard procedures in riveting system.Including all materials and labour complete as per drawing and direction of Engineer-in-charge.. |  | 1248 | Sqm | 4304 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | P.H WORKS. : i. INTERNAL P.H. & SANITARY WORK.
2.01 | GPH Works: Supplying all materials, labour, T&P and providing and fixing to wall or ceiling and floor pvc pipes confirming to SDR-11 and pipe fittings of the following nominal borewith clamps including making good the wall, ceiling and floor, testing all complete as per specification and direction of the Engineer-in-charge. (i) 20 mm CPVC pipes (Astral/Oriplast/Supreme) |  | 170 | Mtr | 265.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | (ii) 25 mm CPVC pipes (Astral/Oriplast/Supreme) |  | 170 | Mtr | 343.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | (iii) 40 mm CPVC pipes (Astral/Oriplast/Supreme) |  | 545 | Mtr | 701.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | (iv) 50 mm CPVC pipes (Astral/Oriplast/Supreme) |  | 525 | Mtr | 1073.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | (vi) 65 mm CPVC pipes (Astral/Oriplast/Supreme) |  | 110 | Mtr | 2262.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | Supplying all materials, labour, T&P and providing and fixing to wall or ceiling and floor pvc pipes 65 mm dia GI PIPE (Jindal, Tata, or equvalent) Heavy Type-C. |  | 300 | Mtr | 854.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | Supplying all materials, labour, T&P and cutting holes through existing brick work including making good the damages in cement mortar (1:4) for taking G.I. Pipes and fittings/ P.V.C. pipes and fittings etc. all complete as per P.H. specification and direction of Engineer-in-charge. (250 mm thick wall) |  | 66 | Each | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | Supplying all materials, labour, T&P and cutting hole in R.C.C floors, roofs, etc upto 19 cm thick for passing G.I. Pipes / P.V.C pipes and fittings etc and repairing the holes after insertion of pipes etc with cement concrete (1:2:4 ) including finishing complete so as to make it leak proof as per direction of the Engineer-in-charge. (250 mm thick wall) |  | 34 | Each | 215.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | Supplying all materials, labour, T&P and cutting grooves in pucca floors and walls for taking G.I./P.V.C. pipes and making good the damages as per direction of the Engineer-in-charge. |  | 340 | Mtr | 221.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | Supplying all materials, labour T&P and fitting and fixing brass/CP fittings of the following nominal bore with supply of all joiniting materials complete as per specification and direction of the Engineer-in-charge. (i) Supplying all materials, labour, T&P and fixing standard sized Two way Bib cock of Hindware/Jaquar/Parryware/Roca or equivalent of approved make etc complete including cutting the wall and making good the damages, including cost of all materials complete as per PH specification complete as per direction of Er-in-charge. 15mm dia CP Two way bib cock with Flange JAQUAR-OPP-15041PM |  | 20 | Each | 2327.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.11 | (ii) Supplying all materials, labour, T&P and fixing standard sized Bib cock of Hindware/Jaquar/Parryware/Roca or equivalent of approved make etc complete including cutting the wall and making good the damages, including cost of all materials complete as per PH specification complete as per direction of Er-in-charge.15mm dia nominal bore Long body Bib Cock JAQUAR-OPP-15037PM. |  | 26 | Each | 2081.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.12 | (iii) Supplying all materials, labour, T&P and fixing standard sized 15mm dia angular Stop cock of Hindware/Jaquar/Parryware/Roca or equivalent of approved make etc complete including cutting the wall and making good the damages, including cost of all materials complete as per PH specification complete as per direction of Er-in-charge. 15mm dia CP angle stop cock with wall flange JAQUAR-OPP-15053PM. |  | 68 | Each | 728 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.13 | (iv) Supplying all materials, labour, T&P and fixing standard sized pillar cock of Hindware/Jaquar/Parryware/Roca or equivalent of approved make etc complete including cutting the wall and making good the damages, including cost of all materials complete as per PH specification and direction of Engineering-in-charge. 15mm dia brass pillar cock JAQUAR-OPP-15001PM. |  | 24 | Each | 2155.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.14 | (v) Supplying all materials, labour, T&P and fixing 100 mm dia wall mounted over head shower & Shower arm Hindware/Jaquar/Parryware/Roca or equivalent including cutting the wall and making good the damages, including cost of all materials complete as per PH specification and direction of Engineer-in-charge. 100 mm dia CP overhead shower with Arm (JAQUAR-OHS-1999, JAQUAR SHA- 483) |  | 6 | Each | 3282.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.15 | (vi) Supplying all materials, labour, T&P and fixing standard sized 15mm dia Concealed Stop cock of Hindware/Jaquar/Parryware/Roca or equivalent of approved make etc complete including cutting the wall and making good the damages, including cost of all materials complete as per PH specification complete as per direction of Er-in-charge. Concealed stop cock JAQUAR-15083KPM |  | 6 | Each | 725.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.16 | (vii) Fixing of 25mm dia Bronze Ball Valve confirming to IS : 781-1995 of approved make as per specification complete as per direction of Er-in-charge.25mm dia Bronze Ball Valve Screwed (Zooloto/Shakti or equivalent) Zooloto- HSN-84818090 |  | 46 | Each | 1769.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.17 | (viii) Fixing of 40mm dia Brass / Gun meta ball Valve confirming to IS : 781-1995 of of approved make as per specification complete as per direction of Er-in-charge. 40 mm dia Bronze Ball Valve Screwed (Zooloto/Shakti,or equivalent) HSN-84818090 |  | 11 | Each | 4802.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.18 | (ix) 15mm dia PVC connection pipe 450 mm long |  | 66 | Each | 34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.19 | (x) 15mm dia CP Extention Nipple |  | 44 | Each | 59.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.2 | (xi) Providing and fixing circular type stainless steel jalli (grating) with hole for floor /nahani trap etc complete as per specification and direction of the Engineer in charge. |  | 59 | Each | 81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.21 | Supplying all materials, labour, T&P and fixing Health Faucet of Hindware/Jaquar/Parryware/Roca or equivalent complete with Chromium plated brass brackets fixed to wooden plugs with Chromium plated brass screws as per specification and direction of the Engineer-In-Charge. (15mm dia CP Health Faucet of Jaquar 1.2mtr long, 8MM dia JAQUAR ALD-579) |  | 20 | Each | 1515.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.22 | Supplying all materials, labour, T&P and fixing Rotational moulded polyethylene cylindrical vertical water storage tanks conforming to including cutting holes through the tank and fixing mild steel ltubes and fittings and providing extra sockets and jam nuts, fixing ball valve etc, including hoisting up to a height of 5 meters above ground level and placing the tank to the required position and providing 1st class K.B.Brick work in cement mortar (1:6) of 0.46mt. height in staging and in circular protection wall to support the tank, 12mm thick cement plaster (1:6) over brickwork, R.C.C.slab of size 1.60mt.x1.60mt. and 0.10mt. thick, R.C.C.beam of 0.25mt.x0.30mt. and 2.60mt. average length in cement concrete (1:2:4) using 12mm size h.g.chips including centering and shuttering, watering, curing, conveyance of all materials to worksite etc all complete as per specification and direction of the Engineer-In-Charge. 2000 litre capacity water storage tanks in 1st. floor.(Sintex-3layer White or equivalent) |  | 10 | Each | 26428.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.23 | Supplying all materials, labour, T&P and fitting and fixing U-PVC SWR soil waste ventilating pipes and fittings of the following outside diameter conforming to ISI No 13592/1992 to walls with nails, bobbins and wooden plugs or laying in trenches including jointing with supply of approved rubber lubricant by non-heat application method/as per manufacturer's specification, testing, earthwork in excavation in all kinds of soil and refilling of trenches as per specification and direction of the Engineer-In-Charge. (i) 110mm diameter U-PVC SWR pipes(Astral/Oriplast/Supreme-type-A) |  | 350 | Mtr | 551.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.24 | (ii) 110mm U-PVC door Tee |  | 65 | Each | 150.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.25 | (iii) 110mm U-PVC offset |  | 102 | Each | 126.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.26 | (iv) 110mm U-PVC door bend |  | 68 | Each | 144.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.27 | (v) 110mm U-PVC plain shoe bend |  | 77 | Each | 205.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.28 | (vi) 110mm U-PVC vent cowl |  | 39 | Each | 42.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.29 | (vii) 110mm P-trap |  | 64 | Each | 247.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.3 | (viii) 110mm U-PVC plain bend |  | 74 | Each | 79.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.31 | Supplying all materials,labour T&P and cutting holels through existing brick or laterite masonry wall for taking H.C.I pipes and fittings including making good the damages etc. all complete as per P.H.Specification and direction of the Engineer-In-Charge.(250mm to 375mm thick wall) |  | 40 | Each | 173.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.32 | Supplying all materials, labour T&P and and fixing 12.50 liters/10 liters capacity low level flushing cistern of Hindware/ Jaquar/ Parryware/Roca or equivalent with a pair of cast iron or M.S. brackets complete with fittings such as siphonic arrangements 15mm nominal size brass/pvc ball valve with polythene float CP brass handle,unions and couplings for connection with inlet, outlet and overflow pipes, 32mm dia CP long flush bend, 15mm dia pvc inlet connection pipe including cutting holes and making good the same and connecting the flush bend with cistern and closet and connceting the inlet pipe with suupply main etc all complete as per the specification and direction of the Engineer-in-charge. Jaquar- JCS-WHT-2400 |  | 22 | Each | 5030.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.33 | Supplying all materials, labour, T&P and fixing vitreous china water closet, squatting pan (Indian type W.C pan/Orissa pattern squatting pan) of Hindware/ Jaquar/ Parryware or equivalent duly embedded in cement concrete (1:4:8) using 4cm size hard granite metal including fixing a pair of vitreous china 250mm x 130mm x30mm footrest, fixing 100mm dia HCI 'p' or 's' trap (with/without 50mm dia horn) for water colset squatting pan including jointing the trap with pan in cement mortar (1:1) cutting the floor and mending good the damages etc all complete as per specification and direction of the Engineer-In-Charge. (Jaquar Orissa Pan, Size- 53x41 cm) |  | 3 | Each | 2524.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.34 | Supplying all materials, labour, T&P and fixing the following vitreous china Wash Down Water Closet (wall hung European type W.C. pan) of Hindware/Jaquar/Parryware/Roca or equivalent with integral 'p' or 's' trap to the floor with wooden plug and chromium plated pedestal screws including jointing the trap with soil pipe in cement mortar (1:1) fixing plastic seat and cover for wash down water closet with chromium plated brass hinges and rubber buffers including polishing etc all complete as per specification and direction of the Engineer-In-Charge. EWC with 'P'/S trap plain JAQUAR-OPS-WHT-15955P180UFSM, size-370x580x430 mm. |  | 20 | Each | 21189.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.35 | Supplying all materials, labour T&P and fixing Half Pedestal wash basins of Hindware/Jaquar/Parryware/Roca or equivalent with hole for pillar taps with cast iron or M.S.brackets painted white including cutting holes in walls and making good the damages with supply of wooden plugs, screws and cement etc, fixing pedestal for wash basin recessed at the back for the reception of pipes and fittings, fixing PVC waste pipe of 32mm nominal diameter for wash basin including brass check nut complete, fixing pillar taps capstan head screw down high pressure lettered 'Hot' and 'Cold' with long screws, shanks and back nuts of 15mm dia nominal bore, fixing 15mm dia PVC inlet connection pipe and making connection with pillar cocks and supply mains for wash basin, fixing 32mm dia CP brass waste, etc all complete as per specification and direction of the Engineer-In-Charge. JAQUAR Continental Wash Basin Size: 560x415x200 mm, CNS-WHT-801, CNS-WHT-305, Half Pedestal. |  | 3 | Each | 4929.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.36 | Supplying all materials, labour T&P and fixing Under Counter wash basins of Hindware/Jaquar/Parryware/Roca or equivalent with hole for pillar taps with cast iron or M.S.brackets painted white including cutting holes in walls and making good the damages with supply of wooden plugs, screws and cement etc, fixing pedestal for wash basin recessed at the back for the reception of pipes and fittings, fixing PVC waste pipe of 32mm nominal diameter for wash basin including brass check nut complete, fixing pillar taps capstan head screw down high pressure lettered 'Hot' and 'Cold' with long screws, shanks and back nuts of 15mm dia nominal bore, fixing 15mm dia PVC inlet connection pipe and making connection with pillar cocks and supply mains for wash basin, fixing 32mm dia CP brass waste, etc all complete as per specification and direction of the Engineer-In-Charge. CNS-WHT-705 Under Counter Basin with Fixing Accessories, Size: 605x430x200 mm, Shape: Oval. |  | 19 | Each | 3748.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.37 | Supplying all materials, labour, T&P and fixing bowl pattern urinal make Hindware/Jaquar/Parryware/Roca or equivalent including connecting the urinal with waste pipe by means of white lead mixed with chopped hemp etc all complete as per specification and direction of the Engineer in charge. (i) Half stall Urinal -JAQUAR-URS-WHT-13261 |  | 11 | Each | 2428.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.38 | (ii) 32mm dia CP dome waste |  | 11 | Each | 128.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.39 | (iii) Cost of 15mm dia urinal spreader |  | 11 | Each | 286.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.4 | (iv) Cost of Urinal Partion |  | 11 | Each | 2428.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.41 | Supplying all materials, labour, T&P and fixing glazed earthenware squatting plate of size 600mmx350mm with integral longitudinal flushing pipe including embedding the plate in 25mm cement mortar (1:8) laid over 150mm cement concrete (1:5:10) using 40mm hard granite metal all complete as per specification and direction of the Engineer in charge .Fixing of squatting urinal.(JAQUAR/Hindware/Parryware or equivalent). |  | 10 | Each | 3062.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.42 | Supplyiny & Fixing of Brandede I.S Matrix Set -1 (WB 65 x 35 with one pair mounting brackets, EWC & Cistern complete with fittings & seat cover, one no hinged rail 76 cm and five nos of grab rails 60 cm) (JAQUAR/Hindware/Parryware or equivalent) Cat- 70002. |  | 2 | Each | 66589.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.43 | Supplying all materials, labour, T&P and fixing mirror of superior glass mounted on 6mm thick A.C.sheet or plywood sheet and fixed to wooden plugs with CP screws and washers complete as per specification and direction of the Engineer-in-charge. 600mmx450mm size B.E.mirror (Alpina/Golden fish/Belgion). |  | 19 | Each | 805.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.44 | Supplying all materials,labour, T&P and fixing standard sized CP towel rail 24" of Hindware/Jaquar/Parryware/Roca complete with CP brass brackets fixed to wooden plugs with CP screws as per specification and direction of the Engineer-In-Charge.25mmx600mm long CP towel Rail JAQUAR-AKP-35711PS. |  | 12 | Each | 2810.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.45 | Supplying all materials, labour, T&P and fixing standard sized Chromium Plated soap case of Hindware/Jaquar/Parryware/Roca complete with Chromium Plated brass brackets fixed to wooden plugs with Chromium Plated brass screws as per specification and direction of the Engineer in charge.CP soap holder JAQUAR-AKP-35731P. |  | 24 | Each | 1220.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.46 | Supplying all materials, labour, T&P and fixing standard sized Robe Hook of Hindware/Jaquar/Parryware/Roca complete with all as per specification and direction of the Engineer in charge. JAQUAR-AQN-7791. |  | 24 | Nos | 1195.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.47 | Supplying all materials, labour, T&P and fixing standard sized Soap Dispensor of Hindware/Jaquar/Parryware/Roca complete with all as per specification and direction of the Engineer in charge. Soap dispense with Glass Bottle. JAQUAR-AKP-35735P. |  | 25 | Nos | 2007.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.48 | Supplying all materials, labour, T&P and providing fitting and fixing (Aqua guard) Pure Chill 120 PSS UV of size 750x570x1350mm height with water storage capacity 120 liters along with 3 nos of faucets 2for cold water and 1 for normal water including a flow of 1.5 ltr per minute etc all complete as per approved drawing,specification and direction of the Engineer-In-charge. (a)Aquagurd Pure Chill 120 PSS UV |  | 2 | Nos | 95282 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | ii. EXTERNAL P.H. & SANITARY WORK.
3.01 | Supplying all materials, labour, T & P and constructing Gully trap chamber of the following inside size with 8 cm thick R.C.C. precast cover slab in CC (1:2:4) mix using 12mm size h.g. chips, foundation concrete (1:4:8) using 40mm size h.g. metal on bed aound trap , Fly Ash brickwork in CM (1:6) in P&F and inside 12mm thick cement plastering (1:3) finished with a floating coat of neat cement including fixing 100mm x100mm size gully trap, 150mm x150mm C.I gratig etc. all complete as per aproved drawing, specification and direction of Engineer-in-charge. (Inside Size 230mmx230mm with cover) |  | 27 | Each | 1252.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | Supplying all materials, labour, T & P and constructing Inspection chamber of the following inside size with CC (1:3:6) mix using 40mm size h.g. metal on bed, Ist class Fly Ash brickwork in CM (1:6) , moulding and shaping the channel inside and benching with CC (1:2:4) using 12mm size h.g. chips, 12mm thick cement plastering (1:3) finished with punning to inside , cement flush pointing (1:3) to outside , R.C.C. cover slab in (1:2:4) using 12mm size h.g. chips with RCC man hole cover , earth work in excavation in all kinds of soil and refilling the cavity around the chamber including watering ,curing, conveyance of all materials to worksite , payment of royality , taxes etc. all complete as per aproved drawing , specification and direction of Engineer-in-charge. (Inside size 760mm x760mm x450mm with Cover) |  | 15 | Each | 9337.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | Supplying all materials, labour, T&P and laying in trenches (to level or slope) unplasticized PVC pipes conforming to IS: 4985/2000 of the following outside dia for class-3(0.60mpa) including jointing with supply of approved solvent cement by non-heat application method/as per manufacturer’s specification, providing and laying in trench cement concrete (1:4:8) with 40mm size hard granite metal in the Type C-1 standard bedding surrounding or encasing including concrete for bedding and curing etc all complete as per PH specification and direction of the Engineer-in-charge. (i) 110 mm dia U-PVC alround concrete |  | 420 | Mtr | 604.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | (ii) 160 mm dia U-PVC alround concrete |  | 410 | Mtr | 1100.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | Supplying all materials, labour, T&P and constructing Man hole chamber of the following size with cement concrete (1:3:6) using 40 mm size HG metal on bed , !st class Fly Ash Brick work in CM (1:6) moulding and shaping the channel inside and benching with CC (1:2:4) mix using 12 mm size H.G chips, 12 mm thick cement plaster (1:3) with punning to inside, cement flush pointing (1:3) to outside ,RCC cover slab in (1:2:4) mix using 12 mm size H.G chips with SFRC Manhole Cover , earth work in all kinds of soil and refilling the cavity around the camber including watering, curing, conveyance of all materials to worksite payment of royalty, taxes etc. all completed as per approved drawing, specification and direction of Engineer-in-charge. (i) Inside size 900mmx900mmx900mm |  | 15 | Each | 16859 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | (ii) addl depth of 0.30m upto 4.50m depth |  | 35 | Each | 2203 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | CIVIL WORK.(UGR,OHR,SEPTIC TANK, DRAIN)
4.01 | Earthwork in excavation of foundation trenches in Sandy Earth including dressing of sides and leveling the bed up to the required depth and depositing the excavated materials away from the work site with all leads and lifts, including shoring, shuttering and dewatering (if required) with cost of labour, hire & running charges of water pumps sundries & T&P required for the work complete as directed by the Engineer-in-charge. |  | 419.6 | Cum | 206 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | Excavation of foundation in stoney earth and gravels mixed with stone and boulder not exceeding 0.014 cum in vol. within 50m. Initial lead 1.5m initial lift including rough dressing and breaking clods to maximum 5cm to 7cm and laying in layer not exceeding 0.3 in depth and as per specification approved by the department. |  | 20 | Cum | 431.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | Filling at all depth with available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 15cm in depth : consolidating each deposited layer by ramming and watering complete (lead upto 100m) as directed by the Engineer-In-charge. |  | 356.466 | Cum | 114.477 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | Supplying and filling sand in foundation and over areas including watering, ramming, consolidating and dressing, labours, tools, taxes etc. all complete as per the specification and direction of Engineer-In-charge |  | 49.76 | Cum | 1060.932 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.05 | Cement concrete of proportion (1:4:8) in foundation and floors using 4cm size clean hard black crusher broken granite stone metal of approved quality and from approved quarry including hoisting, lowering and laying concrete in layers not exceeding 15 cm. (6") thick to the required level ramming, watering, curing etc. complete including cost, conveyance, royalties of all materials with all labour and T&P required for the work etc. complete in all respect and as per the direction of the Engineer-in-charge. |  | 61.375 | Cum | 5803.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.06 | Providing and laying plain cement concrete of proportion (1:3:6) in foundation and floors using 4 cm. size black hard crusher broken granite stone metal and screened and washed sharp sand for mortar of approved quality and from approved quarry including hoisting, lowering, laying concrete, ramming, watering and curing etc. complete to required levels laid in layers not exceeding 15 cm. thick in each layer including cost, conveyance, royalties of all materials and cost of all labours,labour cess, T&P etc complete as per the direction of the Engineer-in-charge. |  | 7.635 | Cum | 6216.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.07 | Providing, lifting, hoisting and laying Reinforced cement concrete of M-25 grade as per approved designs and drawings having a minimum compressive strength (in work test) 25 Kg. / Square cm. in 15 cm. cubes at 28 days after mixing and test conducted in accordance with I.S. 516 using 12 mm. to 20 mm. size black hard crushed broken granite stone chips and screened and washed sharp sand for mortar of approved quality from approved quarry, washed and cleaned ( 20mm. size chips not to exceeds 25 % ) to be mixed in concrete mixture with Portland slag cement (PSC) including hoisting, lowering, laying and compaction concrete by using vibrators, watering and curing for 28 days, centering and shuttering then after dismantling and removing debris from the work site and finishing the exposed surface smooth providing grooves or beads wherever necessary including cost, conveyance, loading, unloading, royalties and taxes of all materials and cost of all labours, sundries, T & P required of the work etc. complete in all respect as directed by the Engineer-in-Charge. But excluding cost and conveyance of M.S. rods or Tor steel and binding wires and labour charges for straightening, cutting, bending etc. of M.S. rods or tor steel tying the grills and placing in proper position. (i) Footing/Base |  | 57 | Cum | 7159.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.08 | (ii) R.C.C Wall |  | 77.5 | Cum | 12190.335 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.09 | (iii) R.C.C. Slab |  | 91 | Cum | 14489.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.1 | (iv) Tie Beam |  | 0.75 | Cum | 8037.818 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.11 | (v) Column |  | 4.9 | Cum | 16477.675 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.12 | (vi) Roof Beam |  | 0.876 | Cum | 16477.675 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.13 | Supplying, straightening, cutting, bending, placing in position and binding reinforcement steel work in RCC/reinforced brick works as per drawing and specification including preparation of respective bar bending schedule and binding (Binding wire to be used as per the IS code) etc. all complete as per direction of Engineer-In-Charge.Cold Twisted bars, Thermo-Mechanically-treated bars. |  | 179.081 | Qntl | 8967.849 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.14 | Providing 12 mm thick cement plaster with cement mortar of mix (1:4) with screened and washed sharp sand for mortar and finished smooth to the rough surface of walls in all heights after racking out joints including watering and curing, rounding of corners, providing grooves where ever necessary with cost, conveyance, royalties of all materials with cost of all labour,labour cess, T&P, and scaffolding required for the work etc. complete in all respect as directed by the Engineer in charge. |  | 390.8 | Sqm | 217.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.15 | First class Fly ash Brick masonry using bricks of size 23cm. x 11 cm. x 8 cm. having crushing strength not less than 75 kg. Per. Sqr. Cm. in cement mortar of mix( 1:6) with ordinary Portland slag cement(PSC) and screened & washed sand for mortar after immersing the bricks for 6 (Six) hours in water before use in Super stracture including splays cutting, circular moulding, corbelling, chamfering and similar such type of works, watering and curing etc. including cost, conveyance, loading, unloading, royalties and taxes of all materials, cost of all labour, scaffolding, sundries, T&P required for the works etc. complete in all respect as directed by the Engineer-In-Charge. |  | 9.6 | Cum | 5956.834 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.16 | Providing 12 mm thick cement plaster with cement mortar of mix (1:6) with screened and washed sharp sand for mortar and finished smooth to the rough surface of walls in all heights after racking out joints including watering and curing, rounding of corners, providing grooves where ever necessary with cost, conveyance, royalties of all materials with cost of all labour,labour cess, T&P, and scaffolding required for the work etc. complete in all respect as directed by the Engineer in charge. |  | 106.8 | Sqm | 195.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.17 | Providing 16 mm thick cement plaster with cement mortar of mix (1:6) with screened and washed sharp sand for mortar and finished smooth to the rough surface of walls in all heights after racking out joints including watering and curing, rounding of corners, providing grooves where ever necessary with cost, conveyance, royalties of all materials with cost of all labour,labour cess, T&P, and scaffolding required for the work etc. complete in all respect as directed by the Engineer in charge. |  | 16.8 | Sqm | 281.191 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.18 | Providing 6 mm thick cement plaster with cement mortar of mix (1:4) with screened and washed sharp sand for mortar and finished smooth to R.C.C. work after closed deep chipping & slurry treatment including watering and curing, rounding of corners, providing grooves where ever necessary with cost, conveyance, royalties of all materials with cost of all labour, T&P, and scaffolding required for the work etc. complete in all respect as directed by the Engineer in charge. |  | 5.76 | Sqm | 216.555 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.19 | Providing and fixing Steel work welded in built up section/framed (including M.S. angle,plate, sq.bar, flat, m.s.tubular section, Heavy type hinges) work incuding cutting, hoisting, fixing in position and applying apriming coat of approved steel primer, two or more coats of synthetic enamel paint with approved make and brand in grating, frames, guard bar, ladder, railings for balconies and straircase, brackets, gates and similar works as per direction of Engineer-In-Charge. (All structural steel contractor's own supply). |  | 144 | Kg. | 8967.849 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.2 | Providing & Applying priming coat with Cement base primer of approved brand and manufacture on plaster/putty surface as per the instruction of Engineer-In-Charge at all elevations and all heights including all material & labour complete. |  | 123.6 | Sqm | 82.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.21 | Providing and applying to outside walls with two or more coats of Anti-Fungal Weather coat water proofing paint including scaffolding and cleaning the surface before application of approved colour and manufacture as per specification, instruction of Engineer-in-charge at all elevations including all material labour complete. in all floors and all heights. |  | 106.8 | Sqm | 97.321 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.22 | Providing & painting Two coats of Distempering paint with 1st quality oil bound washable distemper of approved brand and manufacturer to give an even shade as per the instruction of Engineer-In-Charge at all elevations including all material & labour complete. |  | 16.8 | Sqm | 88.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.23 | Providing & Painting with Two Coat synthetic enamel paint ovewr a coat of primer of approved brand and manufacture to give an even shade as per the instruction of Engineer-In-Charge at all floors and all heights including all material & labour complete. |  | 2.4 | Sqm | 188.826 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.24 | Septic Tank (i) Supplying all materials, labour, T&P and making MS step iron in 20mm diameter MS steel bars and fixing into walls of man hole/septic tank duly embedded in cement concrete (1:3:6) complete as per specification and direction of the Engineer in charge. |  | 24 | Each | 350 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.25 | (ii) Supplying all materials, labour, T&P and laying in trenches ( to level or slope ) and jointing with provision of stiff mixture of cement mortar in proportion of 1:1 for salt glazed stoneware pipes, Grade-A of the following internal diameters including testing of pipes and joints complete. 110mm diameter UPC pipe |  | 10 | Mtr | 750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.26 | (iii) Supplying all materials, labour, T&P and constructing soakway pit of the following size with precast RCC rings joined loose, gravel backing in the rear of well steining, precast RCC cover slab in cement concrete (1:2:4) using 12mm size hg chips fitted with iron lifting handles including cutting hole in the rings for inlet pipe,earthwork in open well excavation in all kinds of soil and refilling of cavity around the pit & painting the iron works, watering, curing, conveyance of all materials to worksite, payment of royalty, taxes etc all complete as per approved specification and direction of the Engineer-In-Charge. RCC rings soakway pit 1.2m dia x 2.0m deep |  | 22 | each | 17192.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.27 | (iv) SFRD COVER 900mm DIA. |  | 4 | each | 2500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | ELECTRICAL WORKS.:- INTERNAL & EXTERNAL ELECTRICAL WORKS. (A1) INTERNAL WIRING.
5.01 | Recessed wiring to light point / first light of group control/ call bell point/ exhaust fan point /wall fan point with 1.5 sq.mm FRLSH PVC insulated single core multistrand copper conductor of ISI marked in 20 mm dia non-metalic PVC conduit with 6 Amp, 250 V clip in type switch ISI marked and ceiling rose ISI marked mounted on G.I modular box with face plate & cover of suitable size , with 1.5 sq.mm FRLSH PVC insulated single core multistrand copper conductor as earth wire including all accesories and connection as per direction of Engineer in Charge. Group A |  | 160 | Nos. | 616 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | Recessed wiring to secondary light point looped from primary light point with 1.5sqmm FRLSH PVC insulated single core multistrand copper conductor of ISI marked with 20mm dia non-metallic PVC conduit with 1.5sqmm FRLSH PVC insulated single core multistrand copper conductor for running earth including 3 plate ISI marked Ceiling rose with all accessories & connection as per direction of Engineer in charge. Average Length: 3 mtr Group B |  | 173 | Nos. | 914 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | Recessed wiring to ceiling fan point with 1.5sqmm FRLSH PVC insulated single core multistrand copper conductor of ISI marked with 20mm dia non-metallic PVC conduit with 6Amp 250V Modular Switch,Stepped type Moudular Regulator, Base & Cover with 1.5sqmm FRLSH PVC insulated single core multistrand copper conductor for running earth including all accessories & connection as per direction of Engineer in charge. Group C |  | 90 | Nos. | 1293 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | Recessed wiring for 5/6 amp socket outlet with 6Amp, 250 V clip in type modular switch ISI marked mounted on G.I moular box with face plate & cover of suitable size including all accesories and connection on same switch board as per direction of Engineer in Charge. |  | 50 | Nos. | 196 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | Recessed wiring for 5/6 amp socket outlet with 2 x 1.5 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked in 20 mm dia non-metalic PVC conduit with 6Amp, 250 V clip in type switch ISI marked mounted on G.I moular box with face plate & cover of suitable size , with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire including all accesories and connection on separate board as per direction of Engineer in Charge. |  | 30 | Nos. | 551 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | Recessed wiring for 2 x 6 amp socket outlet controlled by 2 nos 6Amp, 250 V clip in type switch ISI marked mounted on single G.I moular box with face plate & cover of suitable size including all accesories and connection on separate board as per direction of Engineer in Charge. |  | 30 | Nos. | 842 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | Recessed wiring for 6 pin 16 amp socket outlet with 16Amp, 250 V clip in type switch ISI marked mounted on G.I moular box with face plate & cover of suitable size including all accesories and connection as per direction of Engineer in Charge. |  | 40 | Nos. | 687 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | Recessed wiring for A.C socket outlet with 20 amp SPN, industrial type socket outlet, with plug top and metal chained cover in sheet steel enclosure indusrial socket ,20A SP MCB including all accesories and connection as per direction of Engineer in Charge. |  | 50 | Nos. | 1137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | (A2) SUBMAIN.
6.01 | Recessed wiring to submain in 4 x 10 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked confirming to IS-694/1990 in 40 mm dia non-metalic heavy duty PVC conduit 1.6 mm thick along with 2 x 6 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire as equired. (Make of wire Finolex /Polycab/ Anchor / Havels/Eq.) |  | 120 | Mtrs | 446 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | Recessed wiring to submain in 2 x 6 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked confirming to IS-694/1990 in 25 mm dia non-metalic heavy duty PVC conduit 1.6 mm thick along with 1 x 4.0 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire as equired. (Make of wire Finolex /Polycab/ Anchor / Havels/Eq.) |  | 90 | Mtrs | 222 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.03 | Recessed wiring to submain in 2 x 4 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked confirming to IS-694/1990 in 20 mm dia non-metalic heavy duty PVC conduit 1.6 mm thick along with 1 x 2.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire as equired. (Make of wire Finolex /Polycab/ Anchor / Havels/Eq.) |  | 620 | Mtrs | 191 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.04 | Recessed wiring to submain in 2 x 2.5 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked confirming to IS-694/1990 in 20 mm dia non-metalic heavy duty PVC conduit 1.6 mm thick along with 1 x 1.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire as equired. (Make of wire Finolex /Polycab/ Anchor / Havels/Eq.) |  | 720 | Mtrs | 173 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.05 | Recessed wiring to submain in 2 x 1.5 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked confirming to IS-694/1990 in 20 mm dia non-metalic heavy duty PVC conduit 1.6 mm thick along with 1 x 1.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire as equired. (Make of wire Finolex /Polycab/ Anchor / Havels/Eq.) |  | 3200 | Mtrs | 159 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | (A3) DISTRIBUTION BOARD .
7.01 | Supply and fixing of following way three pole and neutral, sheet steel, MCB distribution, 415 V on surface / recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, hinged front acrylic cover for the MCB knobs detachable gland plate, interconnections, phosphatized and powder painted including earthing etc. as required or equievalant. (i) 4 way (4 + 12) TPN double door horizontal type |  | 4 | Nos. | 4433 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | (ii) 6 way (4 + 18 ), TPN , MCB DB double door horizontal type |  | 4 | Nos. | 5384 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | Supply and fixing of single pole MCB with sheet steel enclosure, distribution board, on surface /recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, detachable gland plate, interconnection, phosphate and powder painted including earthing etc. as required . (i) 12 way SPN , MCB DB double door |  | 4 | Nos. | 1967 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | Supply and fixing of following rating 240 V Minature Circuit Breaker (MCB) having a sensitivity current up to 10kA in the existing MCB DB ISI marked complete with connection testing and commissioning etc as required. (i) 6 amp to 32 amp rating SP MCB , "c" series, 10KA breaking capacity |  | 85 | Nos. | 321 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.05 | Supply and fixing of following rating 240 V Residual Current Breaker with Overcurrent protection (RCBO) having a sensitivity current up to 100mA in the existing MCB DB ISI marked complete with connection testing and commissioning etc as required. (i) 25 to 40 amp rating DP RCBO, 30mA |  | 2 | Nos. | 2732 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.06 | (ii) 32 amp rating FP RCBO, 30mA |  | 1 | Nos. | 4722 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.07 | (iii) 40 amp rating FP RCBO, 100/300 mA |  | 1 | Nos. | 5544 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | (A4) CABLE .
8.01 | Supply of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of following sizes of cable as required. (i) 3.5 C x 300 sq.mm Al |  | 800 | Rmt | 2866 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.02 | (ii) 3.5 C x 150 sq.mm Al |  | 100 | Rmt | 1233 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.03 | (iii) 3.5 C x 50 sq.mm Al |  | 500 | Rmt | 455 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.04 | (iv) 3.5 C x 35 sq.mm Al |  | 1000 | Rmt | 420 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.05 | (v) 4 C x 16 sq.mm Al |  | 300 | Rmt | 211 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.06 | (vi) 4 C x 10 sq.mm Al |  | 5215 | Rmt | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.07 | (vii) 2 C x 6 sq.mm Al |  | 3450 | Rmt | 144 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.08 | (vii) 3 C x 4 sq.mm CU. |  | 600 | Rmt | 170 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.09 | Laying of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade ofsize exceeding 25 sq.mm but not exceeding 400 sq.mm in the existing RCC/HUME/STONEWARE/METAL pipe as required. |  | 1500 | Rmt | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.1 | Laying of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size not exceeding 25 sq.mm direct in ground in the existing RCC/HUME/STONEWARE/METAL pipe as required. |  | 4215 | Rmt | 57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.11 | Laying and fixing of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size exceeding 120 sq.mm but not exceeding 400 sq.mm on surface as required. |  | 50 | Rmt | 163 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.12 | Laying and fixing of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size exceeding 25 sq.mm but not exceeding 120 sq.mm on surface as required. |  | 120 | Rmt | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.13 | Laying and fixing of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size not exceeding 25 sq.mm on surface as required. |  | 200 | Rmt | 105 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.14 | Providing and fixing in position of the 63/75mm (ID/OD) size dia heavy duty HDPE DWC pipe as per IS, directly burried in ground in all soil type. Including cutting, bending , jointing with approved coupler. Excavation & backfilling of trenches, making the surface good as per good engineering practice after burrying on laying cable through the pipe, complete in all respect , including waterproof sealing of pipes after laying of cables with sealant/cap at both the end. Complete as required. |  | 5145 | Rmt | 447 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.15 | Providing and fixing in position of the 103/120mm (ID/OD) size dia heavy duty HDPE DWC pipe as per IS, directly burried in ground in all soil type. Including cutting, bending , jointing with approved coupler. Excavation & backfilling of trenches, making the surface good as per good engineering practice after burrying on laying cable through the pipe, complete in all respect , including waterproof sealing of pipes after laying of cables with sealant/cap at both the end. Complete as required. |  | 550 | Rmt | 655 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.16 | Supplying and fixing of of 50mm G.I pipe(Medium Class) along with accessories in ground including cutting & making good the same as required. |  | 100 | Rmt | 449 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | (A5) END TERMINATION
9.01 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of PVC insulated and PVC sheathed / XLPE aluminum cable of 1.1 KV as required. (i) 3.5 C x 300 sq.mm Al |  | 2 | Sets | 970 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.02 | (ii) 3.5 C x 50 sq.mm Al |  | 2 | Sets | 344 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.03 | (iii) 3.5 C x 35 sq.mm Al |  | 2 | Sets | 406 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.04 | (iv) 4 C x 16 sq.mm Al |  | 4 | Sets | 232 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.05 | (v) 4 C x 10 sq.mm Al |  | 80 | Sets | 222 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.06 | (vi) 2 C x 6 sq.mm Al |  | 150 | Sets | 156 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.07 | (vii) 3 C x 4 sq.mm CU. |  | 14 | Sets | 188 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | (A6) PANEL
10.01 | Supply, installation,testing & commissioning of floor mounting front operated front access extensible type cubicle panel totally enclosed, dust and vermin proof with Out-Door double door ( (Rear & Front )with hinged and lockabale doors.CRCA sheets including Busbars, interconnections,tinned copper crimping lugs, bonding to earth and painting suitable for use at 415 V, 3phase 4 wire 50 Hz system, and to withstand a fault level of 35KA symmetrical for 1 sec at 415 V complete as per specifications, as required and as below : All switchboards shall have provision for entry of cables from the bottom as required. All live accessible parts shall be shrouded and all equipment shall be finger touch proof. The bus bars shall be insulated with heat shrinkable sleeves.SMC/DMC shrouds and busbar supports shall be used. (i) MAIN PANEL with 630A 4P MCCB as incomer,100A 4P MCCB-6Nos, 63A 4P MCB-4 Nos,40A 4P MCB-4 Nos, as Outgoing. |  | 2 | Sets | 218532 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10.02 | (ii) PANEL with 100A C/O Switch & 100A 4P MCCB as incomer,40A 4P MCB-4 Nos32A DP MCB-6 Nos, 32A DP MCB-with 32A DP Contactor-& Timer-6 Nos, as Outgoing. |  | 2 | Sets | 128169 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | (A7) EARTHING
11.01 | Earthing with G.I. earth plate 600 mm x 600mm x 6 mm thick ISI marked including accessories and providing masonary with cover plate having loccking arrangement and watering pipe etc with charcoal and salt as required. |  | 6 | Set | 6500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11.02 | Supplying and laying 25 mm x 6 mm G.I earth strip ISI marked at 0.5 meter below ground level as strip earth electrode including soldering etc. as required. |  | 20 | Rmt | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11.03 | Supplying and laying 25 mm x 5 mm G.I earth strip ISI marked on surface or in recess for connection etc as required. |  | 20 | Rmt | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11.04 | Earthing with G.I earth pipe 3 meter long 40 mm dia ISI marked including accessories and providing masonary enclosure with cover plate having locking arrangment and watering pipe etc with charcoal and salt as required |  | 2 | Set | 2258 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11.05 | Providing and fixing 8 SWG (4 mm) dia copper wire on surface or in recess for loop earthing as required. |  | 20 | Rmt | 110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | (A7) FIXTURE
12.01 | Supply, Installation, Testing and Commissioning of pre-wired fluorescent fiiting / compact fluorescent fitting /LED fitting of all sizes complete with all accessories and lamp etc. directly on ceiling /wall or recessed in false ceiling , including connection with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor and earthing as required. (i) Surface mounted indoor type 20w SINGLE LED TUBE Luminaire with LED Lamp . |  | 40 | Nos | 728 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.02 | Surface mounted indoor type 40W TWIN LED TUBE Luminaire with LED Lamp. |  | 10 | Nos | 1233 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.03 | Surface mounted indoor type 36W 2'x2' SQUARE LED Luminaire with LED Lamp . |  | 60 | Nos | 4742 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.04 | Surface mounted indoor type 12/15W ROUND LED Luminaire with LED Lamp |  | 60 | Nos. | 1540 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.05 | SITC of out door type wall mounting 12W WALL WASHER LIGHT with LED Lamp . |  | 12 | Nos | 3455 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.06 | Supplying ,installation & fixing of 18W, High efficient LED outdoor SPIKE with extruded Aluminium housing with PC diffuser.CRI>70, IP65, CCT - 6500K, Ambient temp-0 to 45DegC, Driver efficiency>80%,THD<25%, Powerfactor>0.9, Surge protection-2 kV, Multistage Isolated Constant Current-Constant Voltage driver and Safety Extra Low Voltage Safe level<60V DC as per IEC standard. Luminaire lumen 70 lm/W). Similar toK-LITE/Philips/LT/PANASONIC including installation under water as per the Drawing for inspection as required & as per direction of Engg.-in-Charge. |  | 8 | Nos | 9025 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.07 | SITC of outdoor type IP65 70W Flood LIGHT with LED Lamp. |  | 10 | Nos | 6615 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.08 | Supplying ,installation & fixing of 12W, High efficient LED outdoor SPOT LIGHT with extruded Aluminium housing with PC diffuser.CRI>70, IP65, CCT - 6500K, Ambient temp-0 to 45DegC, Driver efficiency>80%,THD<25%, Powerfactor>0.9, Surge protection-2 kV, Multistage Isolated Constant Current-Constant Voltage driver and Safety Extra Low Voltage Safe level<60V DC as per IEC standard. Luminaire lumen ≥ 565 lumens (10 lm/W). Similar to K-LITE/Philips/LT/PANASONIC. including installation under water as per the Drawing for inspection as required & as per direction of Engg.-in-Charge. |  | 30 | Nos | 5996 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.09 | SITC of out door type wall mounting IP67 STEP LIGHT with LED Lamp . |  | 20 | Nos | 8718 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.1 | SITC of IP 66 Non-integral flexible LED strip light(OUTDOOR),High optically efficient diffuser,, 3000K with 9 w/mtr @ 5Mtr pool with Driver extra as required as per direction of Engg.-in-Charge ( K-LITE/Philips/LT/PANASONIC or equievalant or similar model of /PHILIPS/Wipro/HALONIX or equievalant reputed make & model A catagory ISI marked as approved. )The luminaire should be Replacement Warranty will be 5 years |  | 8 | Nos | 82536 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.11 | Supply ,Installation testing commissioning of 50W, High efficient LED with aluminium housing in Pure Polyster UV resistant powder coated black finish and Top maintainable product with top opening die cast cover with acrylic clear glass reflector.CRI>70, IP66, Ambient temp-0 to 45DegC, Driver efficiency>85%, CCT-4000/5700K,THD<10%,Powerfactor>0.95, Surge protection-4 kV, Multistage Isolated Constant Current-Constant Voltage operated driver with range 150-300V AC and Safety Extra Low Voltage Safe level<60V DC as per IEC standard. Luminaire lumen ≥ 3500 lumens (110 lm/W) having 3meter long aesthetically designed decorative light pole with Cast Aluminium base and cast aluminium in middle of the Pole . Pole shall made up of Mild Steel Body and coated with zinc rich primer & pure polyester powder coating and finished with black & gold embellishment Similar to K-LITE/PHILIPS/ LT/Trilux make. & model A catogory, ISI marked as approved, with proper model make having warrantied for a period of 5 years . The luminaire to be installed in 6 mtr long GI hot dip galvanized smart pole with anti corroson,,uv rays stabilized,metal post with covered by resin of Fumatech/Valmount/Transrail/RR/UTKASH /Utkal Galvanizer make equievalant make with proper model complete with SA bracket internal JB with 4 way connector and MCB as per the pole drawing and direction of EIC against which inspection mat take place. It should be installed after making proper size RCC foundation by considering RCC foundation by using M20 grade RCC & Fe 415 grade reinforcement and fixing the 4 nos. En 8 grade J type fdn bolts in the foundation. The luminaire needs to be wired with 3 c 1 sq mm wire from JB as per the direction of Engg-in -charge. |  | 111 | Nos | 38862 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.12 | Supplying ,installation & fixing of 11W, High efficient LED with extruded bollard Aluminium housing with PC diffuser.CRI>70, IP65, CCT - 6500K, Ambient temp-0 to 45DegC, Driver efficiency>80%,THD<25%, Powerfactor>0.9, Surge protection-2 kV, Multistage Isolated Constant Current-Constant Voltage driver and Safety Extra Low Voltage Safe level<60V DC as per IEC standard. Luminaire lumen ≥ 565 lumens (51 lm/W). Similar to K LITE /Philips/ LT/ PANASONIC. including with foundation as per the Drawing for inspection as required & as per direction of Engg-in-Charge. |  | 25 | Nos | 7628 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.13 | SITC of outdoor type IP66 Weather Proof Cable Junction Box (155x210x92) with knockouts for cable entry . |  | 70 | Nos | 2912 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.14 | Supplying, installation, testing and commssioning of 1200 mm sweep white/milky colour BLDC ceiling fan with aluminium blades having wattage not more than 28W and air delivery ≥215m3/min Make-Crompton Energion Groove /Havells Efficiencia Neo/Usha Technix ) including wiring the down rod of standard length (upto 30 cm) with 1.5 sq mm PVC insulated, copper conductor, single core cable etc. as required as per direction of Engg.-in-Charge,Replacement Warranty will be 4 years. |  | 60 | Nos | 3724 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12.15 | Supplying, installation, of exhaust fan of heavy duty 300 mm sweep 1400 rpm with louvers (Make- Havells/Crompton/Usha/Orient/Bajaj ) of exhaust fan in the existing wall, including fixing & conntection as required as per direction of Engg.-in-Charge. Replacement Warranty will be 2 years. |  | 20 | Nos | 3130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | (A8) EXTERNAL LIGHT
13.01 | 7M long G.I.tubular pole complete with RCC foundation, required G.I base plate , single-arm of ERW galvanised pipe 30mm - 1M length, providing GI pipes for cable entry junction box with prewired 6 Amp SP MCB, loop-in -loop-out , terminal block, wiring with copper wire upto the fitting etc. complete |  | 60 | Nos | 17610 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.02 | 7M long G.I.tubula pole complete with RCC foundation, required G.I base plate , Double-arm of ERW galvanised pipe 30mm - 1M length, providing GI pipes for cable entry junction box with prewired 6 Amp SP MCB, loop-in -loop-out , terminal block, wiring with copper wire upto the fitting etc. complete |  | 20 | Nos | 22588 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.03 | Supply , fixing & termination of Outdoor type IP66 Street Light LED Luminaire with 90w LED Lamp . |  | 80 | Nos | 8657 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.04 | Supply , Installation , Testing and commissioning of single phase 32A Electric Vehicle charging socket with bracket, mounting box as required. |  | 14 | Nos | 8000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.05 | High Mast Light - Supply,installation,testing and commissioning of 20 side polygonal street light pole of length12.5 mtr (Bottom section: 6mtr long,360 mm dia 4 mm thick pipe; Top section: 6.5mtr long, 150 mm dia, 3 mm thickn pipe) along with base plate with bolting arrangement to foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template withstand windspeed of 250 Km/Hr, 1050x250 mm opening door, Diameter of base plate 520mm and 25mm thickness,motor capacity of 0.75HP,8 arm,2 continous 6mm dia stainless steel wire rope with 535 mm ID carriage ring and 6A SPN MCB, duly wired upto the luminaire with 6C X 2.5 sqmm PVC insulated FRLS copper wire, duly painted with epoxy based enamel paint of approved colour after treatment along with provision of masonary pedestal duly finished with plaster and painting with GI pipe for cable entering as required.Provision of 02nos GI pipe earthing for High mast with 2.5 M long 40 mm dia GI Pipe including connection to High mast earth terminal with 25 x 3 mm GI flats with all materials and labour. (2nos per mast required) (Make:-Bajaj/ Utkarsh/ Crompton) |  | 6 | Nos | 217201 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.06 | 200W Outdoor Flood LED lights 6 NOS with silicon potted driver, IP66, PDC aluminium body , bottom opening maintanance , LPW not less than 130. make: Havells/BAJAJ/Philips/Crompton) as rerquired. |  | 6 | Nos | 102396 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.07 | LED type single dome aviation obstruction light.(Make-Bajaj/LT) |  | 6 | Nos | 4855 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.08 | S/I/T&Commissioning of LT OUT DOOR FLOOR mounted cubical type timer panel with 32A 4P MCB ,40A TP CONTACTOR ,TIMER with 6 nos 10A 4P MCB C as per direction of Engg.-in-Charge. .(Equievalant model each item of Legrand/Schneider/L&T/ABB or equievalant make & model)Ncessary test report & Warrnaty certificate to be submitted to the department for genuinity of product & to avail free after sales service within warranty period for 2 years after acceptance of materials. |  | 6 | Nos | 45588 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.09 | Providing, lifting, hoisting and laying in position machine batched , machine mixed and machine vibrated design mix cement concrete of M-25 Including the cost of Centering and Shuttering (minimum cement content not less than 403 Kg/Cum) grade in reinforced cement concrete structural elements using black hard crusher broken granite chips of approved quality from approved quarry including mixing and compacting to proper shape and size, level and plumbs and finishing the exposed surfaces smooth including the cost of all materials, cost of labour, conveyance,loading, unloading, royalties, watering and curing for the required period, T&P , hire & running charges of concrete mixer and vibrator, cost of Admixtures in recommended proportions ( as per IS 9103 ) to accelerate, retard setting of concrete, improve workability without impairing strength and durability etc. complete as per the direction of the Engineer-in-charge but excluding the cost of steel reinforcement. |  | 6 | Nos | 3659 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.1 | 11KV OH Line & SUB STATION WITH 250KVA TRANSFORMER :- Supply of all materials, labour and construction of 11-KV overhead line from tapping point of SOUTHCO with 10.0 metre long 200mmx100mm Joist pole ( 200 ISMB) , 55-sqmm AAAC conductor complete with required insulators, cross arms, stays, struts, guarding complete as per site requirement and direction of Engineer-in-charge. |  | 0.3 | KM | 450000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.11 | PANELS :- Supply, installation and testing of L.T. outdoor/ indoor floor mounted type distribution boards made out of 2mm thick CR sheet metal cubicle, duly acid treated for derusting, primered and painted with 2 coats of enamel paint of approved shade; dust, damp & vermin proved; having hinged door and compartmental arrangement for each equipment & busbar chamber on the top of the panel running horizontally; having provision for cable/ conduit entry, earthing studs as per specification mentioned below duly factory wired conforming to the relevant ISS and as per special conditions of contract making good the damages caused complete as per the direction of Engineer-in-charge. Outdoor Sub Station Panel . (i) Incomer: 1 Nos.400A 3P+NL MCCB ROM & spreader links . (ii) Outgoing: 2 Nos 250A 3P+NL MCCB with ROM & spreader links with adjustable thermal settings. (iii) 3Nos 160A 3P+NL MCCB with ROM & spreader links with adjustable thermal settings (iv) 1 Nos 100A 3P MCCB with ROM & spreader links . (v) Bus bars: 4 Nos. 400A Aluminium busbar. (vi) Instruments: 3 Nos phase indicating lamp with control fuses (vii) 1 No 0-500V AC digital voltmeter duly facory wired complete as per SLD. |  | 1 | Set | 101070 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.12 | CABLES :- Supply, laying & testing of following sizes XLPE insulated, PVC sheathed, strip/ wire armoured aluminium conductor power cable of 1100 volt grade laid directly in ground/ on surface of wall/ column/ existing RCC/ stone ware/ through G.I. pipe/ hume pipe as the case may be including excavation of earth in all kinds of soil & rock, sand cushioning, protective covering, refilling the trench with sand and brick covering but excluding the cost of G. I. pipe/ hume pipe and cable end termination complete with making good the damages caused as required and as per direction of Engineer-in-charge. 3 1/2 core x 300 sqmm |  | 100 | Mtr | 1347.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.13 | Construction of Man hole chamber for cable pulling / crossing of size [600mm(W) x 600mm(D)] complete including with suitable size of Hume pipe, base foundation with C.C 1:3:6, 250mm brick walls, filling the inside area with sand, removable RCC slab for chambers with C.C 1:2:4 on the top, wall and top plastering etc complete as required |  | 4 | Nos | 8500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.14 | Providing , laying and fixing of of 100mm dia CPVC Pipe (8kg/psi) along with G.I /CPVC accessories in ground for road crossing including trenching (450mm) and refilling as required. |  | 800 | Mtr | 1425 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | DEPOSITS TO BE MADE
14.01 | DEPOSITS TO BE MADE with SOUTHCO towards (i) 6% supervision Charges |  | 1 | Job | 120000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.02 | (ii) Security deposit for loads |  | 1 | Job | 900000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.03 | Operation and Mentainance of (i)Board wark, (ii)Toilet and Changing room, (iii) Rain Shelter of Zone-I including maintaing structure,painting and due certification by Engineer incharge on actual execution of work |  | 1 | Job | 4000000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14.04 | Operation and Mentainance of Board wark, Toilet and Changing room, rain Shelter of Zone-III |  | 1 | Job | 900000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information