## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: ENGINEER MEMBER
Name of Work: INFRASTRUCTURE DEVELOPMENT OF WATER SPORTS COMPLEX AT SONAPUR, GANJAM.
Contract No: EM-BeDA-12/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | SITE CLEARANCE & DISMANTELING | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Clearing and grubbing road land including uprooting rank vegetation, grass, bushes, shrubs, saplings and trees girth up to 300 mm, removal of stumps of trees cut earlier and disposal of unserviceable materials and stacking of serviceable material to be used or auctioned, up to a lead of 1000 metres including removal and disposal of top organic soil not exceeding 150 mm in thickness. | BI01010001010000000000000515BI0100001113 | 0.48 | HEC | 110628.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Cutting of trees, including cutting of trunks, branches and removal of stumps, roots, stacking of serviceable material with all lifts and up to a lead of 1000 metres and earth filling in the depression/pit.Mulia unskilled for cutting trees including cutting, refilling, compaction of backfilling and stacking of serviceable materials within 1000 metres lead by manual means.(Girth from 300 mm to 600 mm) | BI01010001010000000000000515BI0100001114 | 20 | Nos | 377.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Cutting of trees, including cutting of trunks, branches and removal of stumps, roots, stacking of serviceable material with all lifts and up to a lead of 1000 metres and earth filling in the depression/pit.Mulia unskilled for cutting trees including cutting, refilling, compaction of backfilling and stacking of serviceable materials within 1000 metres lead by manual means.(Girth from 600 mm to 900 mm) | BI01010001010000000000000515BI0100001115 | 15 | Nos | 638.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Dismantling and removing R.C.C.columns beams slab staircase landing lintels including stacking the useful materials for reuse and removing the debris within 50m lead |  | 8 | Cum | 1662.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | Disposal of moorum/building rubbish/malba/similar unserviceable ,dismantled or waste material by mechanical transport including loading ,transporting,unloading to approved municipal dumping ground for lead up to 10km for all lifts,complete as per directions of Engineer -in charge.DSR-2023 Vol-1 page-85. | BI01010001010000000000000515BI0100001117 | 73.45 | Cum | 494.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | ENTRY GATE
2.01 | Curved bamboo entrance gate (3 inch thk.) with non sal (Eucalyptus Tree,Tentra,Gramhi, kuruma) wooden pillar (4”x 3”)Height. - 16’ Metal Stakes: 24-36 “ long, 0.5-1 “ in dia . Auger Anchors: 36-48” long, 6-8 “ helix dia. Concrete Footings: 12-18” dia , 24-36 “ depth, reinforced with rebar Rope/Twine: 0.25-0.5 “ Screws/Bolts: 3-6 “ in length, 0.25-0.5 “ dia Brackets: 4-6 “ length, 0.125-0.25 in th U-Bolts: 0.25-0.5 “ dia , 3-6” length |  | 24 | Sqm | 7576 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | PAVER PATH WAY PAVED PARKING
3.01 | Earth work in excavation of foundation in ordinary soil or gravelly soil including dressing and leveling the bed and disposal of the excavated materials within initial leads and lifts as per direction of E.I.C. |  | 139.6 | Cum | 168 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | Construction of embankment with approved material obtained from borrow pits with all lifts and leads, transporting to site by mechanical means within a lead of 5kms, spreading, grading to required slope and compacting to meet requirement of table 300-2 & Clause 305 of MoSRT&H Specifications for Road and Bridge Works (4th Revision). |  | 1675.2 | Cum | 525.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | Loosening, levelling and Compacting original ground supporting embankment to facilitate placement of first layer of embankment, scarified to a depth of 150mm, mixed with water at OMC and then compacted by rolling so as to achieve minimum dry density as given in table 300-2 for embankment construction & Clause 305 of MoSRT&H specifications for Road & Bridge works (4th Revision). |  | 418.8 | Cum | 37.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | Providing, laying, spreading and compacting graded stone aggregate to wet mix macadum specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, laying in uniform layers with paver in sub base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density as per Clause 406 of MoSRT&H specifications for Road & Bridge works (4th Revision). |  | 418.8 | Cum | 2701.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | Providing & laying moorum in road side berms using approved quality of moorum having P.I. value not more than six and CBR value not less than 20 collected from approved quarry in layers not exceeding 22.50 cm depth including watering & compacting with PRR, all leads & lifts, labour, T&P etc. complete as per specification to proper slope and gradient & direction of Engineer - in- Charge. |  | 418.8 | Cum | 261.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | Supplying and fixing of Pre cast kerb stone of size 600mmX300MMX150MM OF M30 grade of approved make,design,colour and size made by block making machine with proper compaction fixed in required pattern etc. complete in all respect conforming to IS 5758:1984. SR-2022 CHAPTER 25 ,SL NO-4 PAGE-234 |  | 2667 | Cum | 249.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.07 | Providing and Laying plain cement concrete 1: 3: 6 .( 1 cement : 3 sand : 6 stone Aggregate 40mm nominal size ) As levelling coarse in foundation and plinth etc. complete all depth and height. complete as per direction of the Engineer-in-charge. |  | 279.2 | Cum | 5792.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.08 | supply and fixing of 80 mm thick Cement.Concrete interlocking paver block of M-30 grade of approved make design colour and size made by block making machine with proper compaction laid in required pattern etc . complete in all respect conforming to IRC SP-63:2018. SR-2022 SL NO 25.17.1 PG-233. |  | 2792 | Sqm | 608.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.09 | Filling in foundatin and plinth with sand watered and rammed (Labour only)(AR- 2006 slno-15, pg-8) |  | 209.4 | Sqm | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | RAMP & RETAINING WALL
4.01 | Earth work in ordinary soil within 50 m. initial lead and 1.5 m initial lift including ressing & breading clods to maximum 5cm to 7cm & laying in layers not exceding 0.3 M in depth & as per direction of the Engineer-in-charge. |  | 1033.96 | Cum | 167.999 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | Filling foundation trenches and plinth with excavated material in layers not exceeding 0.3mtr. In depth including Watering and ramming and dressing and level or gradient, including cost of all labour with T & P required for the work etc. complete as directed by the Engineer-in-Charge. |  | 954.95 | Cum | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | Supply and filling foundationand plinth with filling sand including watering and ramming and dressing and levelling the top to proper level or gradient, including cost of all labour,sundries, T&P etc., complete as per direction of the Engineer-in-charge |  | 79.01 | Cum | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | Construction of embankment with approved material obtained from borrow pits with all lifts and leads, transporting to site by mechanical means within a lead of 5kms, spreading, grading to required slope and compacting to meet requirement of table 300-2 & Clause 305 of MoSRT&H Specifications for Road and Bridge Works (4th Revision). |  | 23.66 | Cum | 525.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.05 | Providing & laying moorum in road side berms using approved quality of moorum having P.I. value not more than six and CBR value not less than 20 collected from approved quarry in layers not exceeding 22.50 cm depth including watering & compacting with PRR, all leads & lifts, labour, T&P etc. complete as per specification to proper slope and gradient & direction of Engineer - in- Charge. |  | 23.66 | Cum | 261.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.06 | Providing, laying, spreading and compacting graded stone aggregate to wet mix macadum specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, laying in uniform layers with paver in sub base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density as per Clause 406 of MoSRT&H specifications for Road & Bridge works (4th Revision). |  | 11.27 | Cum | 2701.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.07 | Providing and Laying plain cement concrete 1: 3: 6 .( 1 cement : 3 sand : 6 stone Aggregate 40mm nominal size ) As levelling coarse in foundation and plinth etc. complete all depth and height. complete as per direction of the Engineer-in-charge. |  | 226.22 | Cum | 5792.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.08 | R.C.C work in ground floor of M-30 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-51) |  | 244.38 | Cum | 6349.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.09 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. |  | 159.04 | SqMt | 247.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.1 | Rigid smooth centring and shuttering for R.C.C. works including false work and dismantling then after casting including cost of materials all complete.R.C.C. Walls and Fins including attached Pillasters in Ground Floor |  | 713.28 | SqMt | 1061.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.11 | Providing, Cutting, bending , binding and placing in position of reniforcement steel (Fe550) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge |  | 30.15 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.12 | R.C.C work in ground floor of M-30 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-51) |  | 77.81 | Cum | 6349.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.13 | Rigid smooth centring and shuttering for R.C.C. works including false work and dismantling then after casting including cost of materials all complete.R.C.C. Walls and Fins including attached Pillasters in Ground Floor |  | 533.78 | SqMt | 1061.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.14 | Providing, Cutting, bending , binding and placing in position of reinforcement steel (Fe550 HYSD) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge. |  | 10.116 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.15 | Brick work with K.B. bricks 25cm x 12cm x 8cm size having crushing strength not less than 75 Kg/cm2 with dimensional tolerance ± 8 percent in cement mortar (1:4) brick masonary in super structure (AR- 2006 slno-3, pg-71 |  | 19.05 | Cum | 6417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.16 | Providing 12mm Outer cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 449.86 | SqMt | 189.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.17 | Providing 6mm thick cement plaster to the ceiling and R.C.C. surface with cement mortar (1:4) including cost of all materials labour T&P etc. complete. |  | 53.033 | SqMt | 177.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.18 | Priming one coat with any approved primer including cost of all labour, materials T & P with taxes, transportation etc all complete.(AR- 2006 slno-1 ix, pg-93) |  | 449.86 | SqMt | 81.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.19 | Wall painting 2 coats with Weather Coat of approved shade on new work to give an even shade in Ground Floor.(AR- 2006 slno-20, pg-99) |  | 449.86 | SqMt | 99.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.2 | Supplying, fitting and fixing of Stainless steel of 316 grade in hand railing using 50mm dia of 2mm thick circular pipe with Balustrade of size 32mm x 32mm x 2mm @ 0.90mtr. C/C and stainless square pipe bracing of size 32 mm x 32 mm x 2 mm in 3 rows in stair case as per approved design and specification, buffing, polishing etc with cost, conveyance, taxes of all materials, labour, T&P etc. required for the complete in all respect.(AR- 2006 slno-4.XIX, pg-243) |  | 324 | RMT | 3720.034 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | SECUIRTY ROOM & TICKET KIOSK
5.01 | SECTION - I (FOUNDATION) - Earth work in ordinary soil within 50 m. initial lead and 1.5 m initial lift including ressing & breading clods to maximum 5cm to 7cm & laying in layers not exceding 0.3 M in depth & as per direction of the Engineer-in-charge. |  | 90.38 | Cum | 352.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | Filling foundation trenches and plinth with excavated material in layers not exceeding 0.3mtr. In depth including Watering and ramming and dressing and level or gradient, including cost of all labour with T & P required for the work etc. complete as directed by the Engineer-in-Charge. |  | 79.16 | Cum | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | Supply and filling foundationand plinth with filling sand including watering and ramming and dressing and levelling the top to proper level or gradient, including cost of all labour,sundries, T&P etc., complete as per direction of the Engineer-in-charge. |  | 11.21 | Cum | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | Providing and Laying plain cement concrete 1: 3: 6 .( 1 cement : 3 sand : 6 stone Aggregate 40mm nominal size ) As levelling coarse in foundation and plinth etc. complete all depth and height. complete as per direction of the Engineer-in-charge. |  | 9.46 | Cum | 5792.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | R.C.C work in ground floor of M-25 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-50) . |  | 18.585 | Cum | 6327.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. |  | 76.86 | SqMt | 247.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.07 | Providing, Cutting, bending , binding and placing in position of reniforcement steel (Fe550) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge. |  | 2.153 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.08 | Brick work with K.B. bricks 25cm x 12cm x 8cm size having crushing strength not less than 75 Kg/cm2 with dimensional tolerance ± 8 percent in cement mortar (1:6) in foundation and plinth |  | 9.084 | Cum | 6384.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.09 | SECTION - II (SUPER STRUCTURE) - R.C.C work in ground floor of M-25 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-50) . |  | 11.547 | Cum | 6327.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.1 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Column |  | 37.8 | SqMt | 1189.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.11 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Beam |  | 36.48 | SqMt | 1189.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.12 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Slab |  | 35.678 | SqMt | 755 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.13 | Providing, Cutting, bending , binding and placing in position of reinforcement steel (Fe550 HYSD) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge. |  | 1.583 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.14 | Brick work with K.B. bricks 25cm x 12cm x 8cm size having crushing strength not less than 75 Kg/cm2 with dimensional tolerance ± 8 percent in cement mortar (1:4) brick masonary in super structure |  | 26.513 | Cum | 6417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.15 | Providing 12mm Outer cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 87.54 | SqMt | 189.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.16 | Providing 16mm Internal cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 87.54 | SqMt | 273.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.17 | Providing 6mm thick cement plaster to the ceiling and R.C.C. surface with cement mortar (1:4) including cost of all materials labour T&P etc. complete. |  | 30.653 | SqMt | 177.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.18 | SECTION - III (FINISHING) - Fixing Tiles in floors or steps & landing on 25mm. thick bed of cement mortar (1:1) jointed with neat cement slurry mixed with pigment to match the shades of the tiles all complete with cost of precast tiles. (AR- 2006 slno-17, pg-89) |  | 30.653 | SqMt | 1314.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.19 | Fixing Tiles to dados skirting & risers of steps on 12mm. thick C.P (1:3) jointed with neat cement slurry mixed with pigments to match the shade of tiles all complete with cost of precast tiles.(AR- 2006 slno-17, pg-90) |  | 48.45 | SqMt | 1427.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.2 | Finishing plastered surfaces of walls with similar brand -(ASIAN PAINT,Berger,BIRLA WHITE) )Synthetic putty (interior wall puty) wall puty and making smooth to receive painting. |  | 118.193 | SqMt | 109.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.21 | Providing & painting two coats with plastic emulsion paints over one coat of primer to the inside surface of walls including, all cost of materials,labour,T & P etc.complete and Priming one coat with any approved primer including cost of all labour, materials T & P with taxes, transportation etc all complete. |  | 118.193 | SqMt | 106.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.22 | Providing & painting two coats with weather coat paints to the outside surface of walls including, all cost of materials,labour,T & P etc.complete |  | 87.54 | SqMt | 99.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.23 | Providing and fixing in position factory made Premium Stainless steel grade of 316 steel door shutter with frame and fixture ,Set Uin IS/BS 120 , 1200 X 2100 mm SINGLE DOOR, Mortise Sash lock with cylinder and lever handle. All the operation shall be completed in all respect as per drawings, Manufacturers specifications and under the overall direction of Engineer-in-Charge .Brand like-Hörmann,Jindal, Kinza, Megastar |  | 2 | nos | 37252 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.24 | Providing and fixing in position factory made Premium Stainless steel grade of 316 door shutter with frame and fixture ,Set Uin IS/BS 120 , 900 X 2100 mm SINGLE DOOR, Mortise Sash lock with cylinder and lever handle. All the operation shall be completed in all respect as per drawings, Manufacturers specifications and under the overall direction of Engineer-in-Charge Brand like-Hörmann, Jindal, Kinza, Megastar |  | 2 | nos | 25725 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.25 | Supplying , fitting and fixing of two track UPVC sliding window of approved make with 6mm thick glass of approved quality complete with frame, shutters and all fitting and fixtures.(SR- 2023 slno-12 CHP-25. pg-235) |  | 7.2 | SqMt | 4960.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | SITTING AREA WITH COVERED ROOF & GAZEBO
6.01 | Earth work in ordinary soil within 50 m. initial lead and 1.5 m initial lift including ressing & breading clods to maximum 5cm to 7cm & laying in layers not exceding 0.3 M in depth & as per direction of the Engineer-in-charge. |  | 50.25 | Cum | 352.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.02 | Filling foundation trenches and plinth with excavated material in layers not exceeding 0.3mtr. In depth including Watering and ramming and dressing and level or gradient, including cost of all labour with T & P required for the work etc. complete as directed by the Engineer-in-Charge. |  | 50.25 | Cum | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.03 | Supply and filling foundationand plinth with filling sand including watering and ramming and dressing and levelling the top to proper level or gradient, including cost of all labour,sundries, T&P etc., complete as per direction of the Engineer-in-charge. |  | 43.5 | Cum | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.04 | Providing and Laying plain cement concrete 1: 3: 6 .( 1 cement : 3 sand : 6 stone Aggregate 40mm nominal size ) As levelling coarse in foundation and plinth etc. complete all depth and height. complete as per direction of the Engineer-in-charge. |  | 4.5 | Cum | 5792.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.05 | Providing and Laying Fly ash brick masonry work in sub structure throughly soaked in water, with cement mortar (1:6) including scaffoldings ,racking out joints,curing etc complete as per specification/drawing and direction of Engineer-in-charge. |  | 18.55 | Cum | 6384.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.06 | Providing and Laying Fly ash brick masonry work in super structure throughly soaked in water, with cement mortar (1:6) including scaffoldings ,racking out joints,curing etc complete as per specification/drawing and direction of Engineer-in-charge. |  | 11.93 | Cum | 6417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.07 | Providing 12mm External cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 40.68 | SqMt | 189.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.08 | 12mm. thick cement plaster (1:3) on brick work with punning |  | 48.84 | SqMt | 250.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.09 | Providing & painting two coats with weather coat paints to the outside surface of walls including, all cost of materials,labour,T & P etc.complete |  | 40.68 | SqMt | 74.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.1 | OPEN PICNIC PINDIS Open Bamboo gazebo with thatch roof , non sal (Eucalyptus Tree,Tentra,Gramhi, kuruma) wooden pillar (4” dia ) Roof top height- 14’ Plinth height- 1’6” Bamboo Shingles/Slats: 1-2’ long, 4-6” wide, 0.25-0.5” thick Bamboo Mats: 6-8’ long, 3-4’ wide, 0.25-0.5” thick Metal Stakes: 24-36 “ long, 0.5-1 “ in dia . Auger Anchors: 36-48” long, 6-8 “ helix dia. Concrete Footings: 12-18” dia , 24-36 “ depth, reinforced with rebar Rope/Twine: 0.25-0.5 “ Screws/Bolts: 3-6 “ in length, 0.25-0.5 “ dia Brackets: 4-6 “ length, 0.125-0.25 in th U-Bolts: 0.25-0.5 “ dia , 3-6” length |  | 58 | sqm | 6420 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6.11 | Supplying and installation Sitting benches Capacity 03 Person,Size 5 ft X 2 ft X 3.5 ft Seating Height 2.5 Feet, 1. frp channel strip-seat & back with end cap (c section of thickness up to 5mm,1200mm long with wooden finish bolted to side frames) 2.Bench frame material Heavy Duty Cast Iron Seating Frame conforming to 1s1730 made from sand casting method) Paint Coated Color AS Per Finish etc complete as per the direction of Engineer . |  | 30 | NOS | 18864 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | LANDSCAPING & BEAUTIFICATION
7.01 | Trenching in ordinary soil up to a depth of 60 cm including removal and stacking of serviceable materials and then disposing of surplus soil, by spreading and neatly leveling within a lead of 50 m and making up the trenched area to proper levels by filling with earth or earth mixed with sludge or / and manure before and after flooding trench with water (excluding cost of imported earth, sludge or manure). |  | 140 | cum | 78.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation. |  | 350 | sqm | 10.555 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | GRASS AREAS Mixing earth and manure in proportion 8 : 1 and spreading to a thickness of 200mm. |  | 70 | cum | 36.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | Fine dressing the ground (to levels specified). |  | 350 | sqm | 3.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.05 | Flooding the ground with water including making kiaries and dismantling the same. |  | 350 | sqm | 2.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.06 | Pit preparation Digging holes in ordinary soil and refilling the same with the excavated earth mixed with manure or sludge in the ratio of 2:1 by volume (2 parts of stacked volume of earth after reduction by 20% : 1 part of stacked volume of manure after reduction by 8%) flooding with water, dressing including removal of rubbish and surplus earth, if any, with all leads and lifts (cost of manure, sludge or extra good earth if needed to be paid for separately) Holes 1.2 m dia and 1.2 m deep |  | 10 | Cum | 335.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.07 | Holes 90 cm dia, and 90 cm deep |  | 90 | Cum | 143.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.08 | Holes 60 cm dia, and 60 cm deep |  | 250 | Cum | 43.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.09 | Holes 45 cm dia, and 45 cm deep. |  | 1985 | Cum | 18.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.1 | MANURE AND GOOD EARTH Manure Supplying and stacking of well decayed cattle manure at site including royalty and carriage upto 5 k.m. lead complete (cattle manure measured in stacks will reduced by 8% for Payment). |  | 70 | Cum | 247.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.11 | Supplying and stacking sludge at site including royalty and carriage upto 5 km complete (sludge measured in stacks will be reduced by 8% for payment). Good earth |  | 70 | Cum | 294 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.12 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km complete (earth measured in stacks will be reduced by 20% for payment). |  | 70 | cum | 515.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.13 | Filling mixture of earth and sludge or manure in the desired proportion in trenches, flooding with water and leveling (cost of supplying earth and sludge or manure and mixing excluded). |  | 140 | Cum | 18.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.14 | TREES Supply and stacking of Bauhinia purpurea (Kachnar) plant of height 150- 165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge. |  | 20 | NOS | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.15 | Supply and stacking of Cassia fistula (Amaltash) plant of height 120-135 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge.. |  | 10 | NOS | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.16 | Supply and stacking of Cassia siamea plant of height 150-165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge. |  | 10 | NOS | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.17 | Supply and stacking of Chorisia speciosa plant of height 150-165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge. |  | 30 | NOS | 80 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.18 | Supply and stacking of Delonix regia (Gulmohar) plant of height 150-165 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge |  | 10 | NOS | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.19 | Supply and stacking of Erythrina indica plant of height 150-165 cm. in big polybag of size 25 cm as per direction of the officer-in-charge. |  | 10 | NOS | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.2 | SHRUBS Providing and Displaying of Alpinia Variegated (three in one) plant having ht. 30 cm and above , with fresh and healthy variegated foliage in 25 cm size of Earthen Pot / Plastic Pot & as per direction of the officer-in-charge |  | 50 | NOS | 121 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.21 | Providing and stacking of plant Canna dwarf of height 25 to 30 cm., 2 to 3 suckers in earthen pots of size 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. |  | 200 | NOS | 35.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.22 | CREEPERS Supply and stacking of Bougainvillea (Variety Butiana, Lady Mary Baring, Mahara, Mohan, Scarlet Queen, Varigata, Glabra Formosa, Peruviana Odissi, Partha, Subhra,Thimma, Spectabilis L.N Birla, Refulgens) plant of height 30 cm. to 45 cm. with 2-3 branches in 20 cm size of Earthen pots / Plastic pots & as per direction of the officer-in-charge. . |  | 100 | NOS | 40 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.23 | Supply and stacking of Clerodendrum splendens plant of height 30 cm to 45 cm. in 20 cm size of Earthen pots / Plastic pots & as per direction of the officer-in-charge. |  | 150 | NOS | 30 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.24 | GROUND COVER PLANTS Providing and Displaying of Duranta Golden plant, having ht.15 to 20 cm bushty shape plant with fresh and healthy leaves in 20 cm size of Earthen Pot / Plastic Pot & as per direction of the officer-in-charge.. |  | 1200 | NOS | 20 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.25 | Providing and stacking of Ficus long Island of height 15 cm to 20 cm, full of branches and foliage in 20 cm size of Earthen Pot / Plastic Pot & as per direction of the officer-in-charge. |  | 300 | NOS | 45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.26 | Providing and Displaying of Syngonium variegated plant,of height 30-45 cm. with 2-3 suckers healthy foliage in Earthen Pot/Plastic Pot of size 20 cm. as per direction of the officer-in-charge. |  | 150 | NOS | 21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.27 | Providing and Displaying of Wedelia trilobata plant,full of leaves in 15 cm size of Poly bags & as per direction of the officer-in-charge. |  | 85 | NOS | 15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | TOILET & CHANGING ROOM
8.01 | SECTION - I (FOUNDATION) - Earth work in ordinary soil within 50 m. initial lead and 1.5 m initial lift including ressing & breading clods to maximum 5cm to 7cm & laying in layers not exceding 0.3 M in depth & as per direction of the Engineer-in-charge. |  | 79.88 | Cum | 352.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.02 | Filling foundation trenches and plinth with excavated material in layers not exceeding 0.3mtr. In depth including Watering and ramming and dressing and level or gradient, including cost of all labour with T & P required for the work etc. complete as directed by the Engineer-in-Charge. |  | 65.96 | Cum | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.03 | Supply and filling foundationand plinth with filling sand including watering and ramming and dressing and levelling the top to proper level or gradient, including cost of all labour,sundries, T&P etc., complete as per direction of the Engineer-in-charge, 1)Periphery wall,2) Filling Below Floor Level TOILET |  | 13.92 | Cum | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.04 | Providing and Laying plain cement concrete 1: 3: 6 .( 1 cement : 3 sand : 6 stone Aggregate 40mm nominal size ) As levelling coarse in foundation and plinth etc. complete all depth and height. complete as per direction of the Engineer-in-charge. under flooring toilet |  | 13.92 | Cum | 5792.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.05 | R.C.C work in ground floor of M-25 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-50) . |  | 16.885 | Cum | 6327.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.06 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. |  | 70.438 | SqMt | 247.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.07 | Providing, Cutting, bending , binding and placing in position of reniforcement steel (Fe550) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge. |  | 1.956 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.08 | Brick work with K.B. bricks 25cm x 12cm x 8cm size having crushing strength not less than 75 Kg/cm2 with dimensional tolerance ± 8 percent in cement mortar (1:6) in foundation and plinth |  | 7.629 | Cum | 6384.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.09 | SECTION - II (SUPER STRUCTURE)-R.C.C work in ground floor of M-25 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-50) . |  | 14.341 | Cum | 6327.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.1 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Column |  | 34.02 | SqMt | 1189.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.11 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Beam |  | 35.965 | SqMt | 1189.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.12 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Beam |  | 57.614 | SqMt | 755 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.13 | Providing, Cutting, bending , binding and placing in position of reinforcement steel (Fe550 HYSD) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge. |  | 1.827 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.14 | Brick work with K.B. bricks 25cm x 12cm x 8cm size having crushing strength not less than 75 Kg/cm2 with dimensional tolerance ± 8 percent in cement mortar (1:4) brick masonary in super structure |  | 47.933 | Cum | 6417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.15 | Providing 12mm Outer cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 237.405 | SqMt | 189.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.16 | Providing 16mm Internal cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 109.425 | SqMt | 273.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.17 | Providing 6mm thick cement plaster to the ceiling and R.C.C. surface with cement mortar (1:4) including cost of all materials labour T&P etc. complete. TOILET & CHANING ROOM FOR GENTS AND LADIES |  | 53.135 | SqMt | 177.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.18 | SECTION - III (FINISHING) - Fixing Tiles in floors or steps & landing on 25mm. thick bed of cement mortar (1:1) jointed with neat cement slurry mixed with pigment to match the shades of the tiles all complete with cost of precast tiles. (AR- 2006 slno-17, pg-89) |  | 53.135 | SqMt | 1314.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.19 | Fixing Tiles to dados skirting & risers of steps on 12mm. thick C.P (1:3) jointed with neat cement slurry mixed with pigments to match the shade of tiles all complete with cost of precast tiles.(AR- 2006 slno-17, pg-90) |  | 127.95 | SqMt | 1427.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.2 | Finishing plastered surfaces of walls with Berger Synthetic putty (interior wall puty) wall puty and making smooth to receive painting. |  | 290.54 | SqMt | 109.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.21 | Providing & painting two coats with plastic emulsion paints over one coat of primer to the inside surface of walls including, all cost of materials,labour,T & P etc.complete and Priming one coat with any approved primer including cost of all labour, materials T & P with taxes, transportation etc all complete. |  | 162.56 | SqMt | 106.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.22 | Providing & painting two coats with weather coat paints to the outside surface of walls including, all cost of materials,labour,T & P etc.complete |  | 237.405 | SqMt | 99.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.23 | Providing and fixing in position factory made Premium Stainless steel grade of 316 door shutter with frame and fixture ,Set Uin IS/BS 120 , 1200 X 2100 mm SINGLE DOOR, Mortise Sash lock with cylinder and lever handle. All the operation shall be completed in all respect as per drawings, Manufacturers specifications and under the overall direction of Engineer-in-Charge. Brand like-Hörmann, Jindal, Kinza, Megastar |  | 2 | nos | 37252 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.24 | Providing and fixing in position factory made Stainless Premium steel grade of 316 door shutter with frame and fixture ,Set Uin IS/BS 120 , 900 X 2100 mm SINGLE DOOR, Mortise Sash lock with cylinder and lever handle. All the operation shall be completed in all respect as per drawings, Manufacturers specifications and under the overall direction of Engineer-in-Charge .Brand like-Hörmann, Jindal, Kinza, Megastar |  | 12 | nos | 25725 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.25 | Supplying , fitting and fixing of two track UPVC sliding window of approved make with 6mm thick glass of approved quality complete with frame, shutters and all fitting and fixtures.(SR- 2023 slno-12 CHP-25. pg-235) |  | 7.92 | SqMt | 4960.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | CAFETERIA
9.01 | SECTION - I (FOUNDATION) - Earth work in ordinary soil within 50 m. initial lead and 1.5 m initial lift including ressing & breading clods to maximum 5cm to 7cm & laying in layers not exceding 0.3 M in depth & as per direction of the Engineer-in-charge. |  | 66.42 | Cum | 352.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.02 | Filling foundation trenches and plinth with excavated material in layers not exceeding 0.3mtr. In depth including Watering and ramming and dressing and level or gradient, including cost of all labour with T & P required for the work etc. complete as directed by the Engineer-in-Charge. |  | 58.428 | Cum | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.03 | Supply and filling foundationand plinth with filling sand including watering and ramming and dressing and levelling the top to proper level or gradient, including cost of all labour,sundries, T&P etc., complete as per direction of the Engineer-in-charge, 1)Periphery wall,2) Filling Below Floor Level TOILET |  | 7.992 | Cum | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.04 | Providing and Laying plain cement concrete 1: 3: 6 .( 1 cement : 3 sand : 6 stone Aggregate 40mm nominal size ) As levelling coarse in foundation and plinth etc. complete all depth and height. complete as per direction of the Engineer-in-charge. under flooring toilet |  | 7.992 | Cum | 5792.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.05 | R.C.C work in ground floor of M-25 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-50) . |  | 13.775 | Cum | 6327.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.06 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. |  | 52.74 | SqMt | 247.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.07 | Providing, Cutting, bending , binding and placing in position of reniforcement steel (Fe550) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge. |  | 1.591 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.08 | Brick work with K.B. bricks 25cm x 12cm x 8cm size having crushing strength not less than 75 Kg/cm2 with dimensional tolerance ± 8 percent in cement mortar (1:6) in foundation and plinth |  | 5.063 | Cum | 6417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.09 | SECTION - II (SUPER STRUCTURE)-R.C.C work in ground floor of M-25 grade with 20mm & down grade crusher broken hard Granite chips including hoisting & laying with cost of all labour, materials with all taxes, lead ,T & P etc all complete .(AR- 2006 slno-3, pg-50) . |  | 6.806 | Cum | 6327.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.1 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Column |  | 30.24 | SqMt | 1189.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.11 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Beam |  | 21 | SqMt | 1189.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.12 | Providing and Fixing,centering,shuttering of griders,beams,column including removal of form work at all depth and height. Beam |  | 18 | SqMt | 755 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.13 | Providing, Cutting, bending , binding and placing in position of reinforcement steel (Fe550 HYSD) for R.C.C work inculding the cost of 16 S.W.G binding wire, steel, labour tools and taxes etc. complete as per direction of the Engineer-in-charge. |  | 0.972 | MT | 86669.012 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.14 | Brick work with K.B. bricks 25cm x 12cm x 8cm size having crushing strength not less than 75 Kg/cm2 with dimensional tolerance ± 8 percent in cement mortar (1:4) brick masonary in super structure |  | 13.5 | Cum | 6417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.15 | Providing 12mm Outer cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 49.913 | SqMt | 189.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.16 | Providing 16mm Internal cement plaster in cement mortar 1:6 inculding necessary scaffolding curring etc. All complete at all depth height for out side portion wall. |  | 67.913 | SqMt | 273.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.17 | Providing 6mm thick cement plaster to the ceiling and R.C.C. surface with cement mortar (1:4) including cost of all materials labour T&P etc. complete. TOILET & CHANING ROOM FOR GENTS AND LADIES |  | 18 | SqMt | 177.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.18 | SECTION - III (FINISHING) - Fixing Tiles in floors or steps & landing on 25mm. thick bed of cement mortar (1:1) jointed with neat cement slurry mixed with pigment to match the shades of the tiles all complete with cost of precast tiles. (AR- 2006 slno-17, pg-89). Ground Floor |  | 18 | SqMt | 1314.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.19 | Fixing Tiles to dados skirting & risers of steps on 12mm. thick C.P (1:3) jointed with neat cement slurry mixed with pigments to match the shade of tiles all complete with cost of precast tiles.(AR- 2006 slno-17, pg-90).Ground Floor |  | 2.7 | SqMt | 1427.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.2 | Finishing plastered surfaces of walls with Berger Synthetic putty (interior wall puty) wall puty and making smooth to receive painting.Ground Floor |  | 85.913 | SqMt | 109.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.21 | Providing & painting two coats with plastic emulsion paints over one coat of primer to the inside surface of walls including, all cost of materials,labour,T & P etc.complete and Priming one coat with any approved primer including cost of all labour, materials T & P with taxes, transportation etc all complete. |  | 85.913 | SqMt | 106.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.22 | Providing & painting two coats with weather coat paints to the outside surface of walls including, all cost of materials,labour,T & P etc.complete. Ground Floor |  | 49.913 | SqMt | 99.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.23 | Providing and fixing in position factory made Premium Stainless steel grade of 316 door shutter with frame and fixture ,Set Uin IS/BS 120 , 1200 X 2100 mm SINGLE DOOR, Mortise Sash lock with cylinder and lever handle. All the operation shall be completed in all respect as per drawings, Manufacturers specifications and under the overall direction of Engineer-in-Charge. Brand like-Hörmann, Jindal, Kinza, Megastar |  | 2 | nos | 37252 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.24 | Supplying , fitting and fixing of two track UPVC sliding window of approved make with 6mm thick glass of approved quality complete with frame, shutters and all fitting and fixtures.(SR- 2023 slno-12 CHP-25. pg-235). Ground Floor |  | 6.75 | SqMt | 4960.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.25 | Supplying and fixing of steel M.S. grill with all fitting and fixtures inculiding cost of cutting holes in the brick masonary and R.C.C. colums and making good to damage etc, as per direction of Engineer -in -charge. Ground Floor |  | 290.588 | Kgs | 86.669 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.26 | Providing and Painting Two coat with Enamel paint over one coat primer to grill including cost of material, labours, T&P etc complete.Ground Floor |  | 6.75 | SqMt | 74.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9.27 | Supplying, fitting & fixing up window (sliding type) made up aluminium section 9778 as window frame section No. 4095, 4096 and 9777, 3994 as shutter frame with 5mm. thick plain glass as panel fitted with rubber bending including lucking arrangement including all fittings including cost of materials all taxes, labour, T & P excluding cost of glass etc complete as per direction of Engineer in Charge. |  | 2.16 | SqMt | 3336.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | WASTE DUSTBINS
10.01 | Supplying and installation of dustbins are made of FRP in different cartoons shapes and painted with attractive colours of synthetic enamel paints like Height : 4 Feet. : Thickness : 5.6mm. : Capacity : 30 Liter having facility to drop from front and remove from behind door for specific design. dustbin having facilities to anchor with with 50mm hole dia pipe with 1mt length in concrete pedestal & fixing with SS chain . Finishes etc complete as per the direction of Engineer . |  | 12 | EACH | 7849 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | HDPE FLOATING DOCK MODEL JETTY
11.01 | HDPE Floating Dock Model: Platform Dimensions: 50cm x 50cm x 80cm. with •15mm Top Cover Size of Each Module: 0.5mx0.5mx0.4m (of minimum Depth/ Height). Provided with curved Sides that hold perfectly (male- female type) in three dimensions for sustaining pressure of water & strength. The modules are arranged in double layer to obtain a height of 0.8m. Weight of Each Module: 8.5 kgs. + - 5%. Including the weight of top cover. Weight carrying Capacity: More than > 650 kg/sqm. (double layer ) Raw Material of the Module: High Quality HDPE of MFI < 3g/10min. @190oC at 21.6kg load. Copy of CIPET Test report enclosed. Top Cover: 15mm (+/-5°/o) thickness of top surface of same material to ensure sufficient protection & fitted with module. Top Surface: Anti Skid top surface. Lug Thickness: 22mm to ensure sufficient strength to the structure. Accessories & Connectors: Made of same HOPE material to avoid frictional damage. HDPE Hand Rails of 11cm x 11cm of 1m height with triple layer rope to be provided at every 2m along the periphery. The handrail must have pin lock type fixing arrangement so that it fits tightly into the lugs. Colour: Blue / Green / Orange or any other colour of your choice. made of Modular HMW HOPE Cover Plate type Docks joint together with HDPE Nuts and Bolts. •Shape& Size: Can be assembled to form platform of any size and shape in multiples of 0.5m. •Structure : Frame with high load bearing capacity of 350kg/m2 , made from Floating Docks having Cover Plate 15mm thickness. The plate is fixed with SS Nut bolt.Dimension: 500mm x 500mm x 400mm (L x W x H) Supply & Installation of HDPE Floating Jetty with accessories as per the Technical Specfication on Turkey basis. |  | 150 | SQM | 17595 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | SOLARZIED STREET LIGHT
12.01 | SOLAR STREET LIGHTING SYSTEM: * 30Watt Solar Semi Integrated street light (LED Make:Osram/Philips) * 24AH 12.8V LiFEPO4 Battery with mppt Charge Controller. * 75 Watt solar PV Module. * 1.Supply of 5m height 5 inch dia GI (Average dia tappered from bottom to top) tubular pole and at the bottom one base plate of size 30 x 30 x 5 mm having a through hole of size 14 mm dia at the centre of the ase plate with recuired nut and bolt with pole cap Pole with Light arm and PV Structure. 2.Painting of tubular pole with arms with ant coat of red oxide primer and two coats of aluminium paint and bottom one meter with black paint with supply of paints and labour. 3.Labour charges towards installation of 5 mtr height steel tubular pole including concreting of pole base and couping with supply of concreting materials as per following specification. Planting depth of,1.5 mtr pole pit size 1.2 x 1.2 x 1.8 m concreting- 1:4:8 with 4 cm HG metal size and couping of standard size into 40 cm X 40 cm X 50 cm with cement concreting 1:2:4 uaing 20 mm BHCBG chips. This includes the cost of all concreting materials, labour and hire charges of all T&P materials. The pole is to be installed in proper alignment as per the direction of Engineer in charge, and enclosed drawing and specification. Transportation & Installation charge with concrete work.Complete 5 years warranty. . LIGHTS |  | 80 | NOS | 17651 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | PLUMBING ,WATER SUPLLY & BOREWELL
13.01 | BUILDING WATER SUPPLY Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall, 1) 20 mm nominal outer dia .Pipes. |  | 45 | Meter | 300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.02 | 25 mm nominal outer dia .Pipes. |  | 30 | Meter | 522.339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.03 | 32 mm nominal outer dia .Pipes. |  | 25 | Meter | 576 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.04 | 40 mm nominal outer dia .Pipes. |  | 10 | Meter | 776 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.05 | BRASS FITTINGS Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore |  | 2 | Each | 2006 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.06 | 40 mm nominal bore |  | 2 | Each | 2550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.07 | 50 mm nominal bore |  | 2 | Each | 3782 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.08 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :15 mm nominal bore |  | 2 | Each | 749 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.09 | 20 mm nominal bore |  | 1 | Each | 981 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.1 | 25 mm nominal bore |  | 1 | Each | 1370 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.11 | Providing and fixing gun metal non- return valve of approved quality (screwed end) : 65 mm nominal bore Horizontal |  | 2 | Each | 10667 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.12 | Vertical |  | 1 | Each | 6263 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.13 | 80 mm nominal bore Horizontal |  | 1 | Each | 9915 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.14 | Vertical |  | 1 | Each | 8306 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.15 | Providing and fixing enclosed type water meter (bulk type) conforming to IS : 2373 and tested by Municipal Board complete with bolts, nuts, rubber insertions etc. (The tail pieces if required will be paid separately) : 80 mm dia nominal bore |  | 1 | Each | 3187.262 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.16 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design : 180x150 mm size P type With Sewer bricks conforming IS : 4885 |  | 2 | Each | 1317.878 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.17 | SANITARY INSTALLATION Fixing water closet ,squatting pan (Indian type W.C Pan) confirming to IS 2556: Part 3 -2004 duly embeded in cement concrete 1:4:8 using hard granite metal 4cm nominal size all complete as per specification. White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests |  | 8 | Each | 3619.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.18 | Fixing wash Down water closet , (European type W.C Pan) confirming to IS 2556: Part 8 -2004 ,to the ffloor with wooden plug and chromium plated screws joining the trap with ssoiil pipe in c.m(1:1) etc all complete as per specification. W.C. pan with ISI marked white solid plastic seat and lid |  | 8 | Each | 4459.219 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.19 | Fixing Flat back Small urinal confirming to IS 2556: Part 6 -1996 including connecting the urinal of size 31.5x26.5x44 cm sizes respectively with wash pipe by means of white lead mixed with chopped hemp etc all complete as per specifications. One urinal basin with 5 litre white P.V.C. automatic flushing cistern |  | 4 | Each | 2610.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.2 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: wash basin with hole (550x400) |  | 6 | Each | 1738.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.21 | C I bracket for wash basin |  | 6 | Each | 170.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.22 | fixing of pedestal for wash basin |  | 6 | Each | 2621.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.23 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore |  | 8 | Each | 963.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.24 | Installation testing and commissioning of Health faucet of approved make & model. |  | 10 | Nos | 952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.25 | Providing and fixing in position 75 mm N.B.UPVC. Nahani traps of self cleaning design including 100 mm dia UPVC grating, joining, embedding in concrete etc. complete rate to include making of opening in floor, marble / tiles, for fixing grating.(Inside the toilets & Kitchens) |  | 10 | Nos | 82.428 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.26 | Providing & fixing in position 80mm NB "P" type trap of self cleaning type (inlet to "P" trap to be 100mm dia) including brass 125mm dia CP grating, lead jointing embeding in concrete etc. all complete. |  | 10 | Nos | 800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.27 | Providing and fixing on wall face unplasticised Rigid PVC soil, waste and rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS: 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes 110 mm |  | 15 | Meter | 504.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.28 | PUMPS Supply, installing, testing and commissioning of submersible open impeller non-clog pumps with C.I.body and to TEFC submersible motor for 415 + 10% volts, 3 phase, 50 cycles A.C. power supply with mechanical seal, pump connector unit with rubber diaphragm and bend, vertical discharge pipe, guide pipe and chain in built level controller, sequence running controller, arrangement for both pumps together inacase of emeregency, audible hooter for failure or flooding, dry running Protection complete in all respects., painting, testing and commissioning complete with approved quality and make as required as per instruction of site incharge. (Pumps shall be installed in a set of two pumps One working and One standby), Sump Pump, (Pumps to be suitable to handle solids upto 30 mm size), Capacity - 3 LPS (Each), Head - 15 M, HP -1.5 |  | 1 | Set | 50000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.29 | BOREWELL, Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level 400 mm dia bore from GL to 30 m below GL, |  | 30 | RM | 389.436 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.3 | 400 mm dia bore from 90m to 160m and beyond below GL |  | 30 | RM | 487 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.31 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 200 mm nominal size dia |  | 30 | RM | 2472 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.32 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge. 200 mm nominal size dia |  | 30 | RM | 1604 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.33 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of 200 mm dia |  | 2 | Each | 553 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.34 | Supplying, filling, spreading & leveling gravels of size range 5 mm to 10 mm, in the recharge pit, over the existing layer of boulders, in required thickness, for all leads & lifts, all complete as per direction of Engineer-in-charge |  | 24 | cum | 1822 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.35 | Providing and fixing Bail plug/ Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). |  | 2 | Each | 279 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.36 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by “V” notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. |  | 36 | Hour | 679.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.37 | Providing and fixing brass full way 100 mm dia valve with C.I. wheel of approved make, tested to a pressure of 21 kg/sqcm. |  | 2 | EACH | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.38 | Providing and fixing 100 mm dia gunmetal non return valve of approved make tested 21 kg / sqcm. |  | 2 | Each | 2100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.39 | Providing and fixing GI pipe (heavy duty) confirming to IS 1239 with special fittings in external works including earthwork, excavation in all kind of soil including refilling, painting pipes & fitting with two coats of anti corrosive paint complete and all as directed by Engineer-in-Charge. |  | 30 | RM | 700 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.4 | Providing and filling sand all around GI pipe in external work |  | 30 | cum | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13.41 | Providing and installing submersible pump suitable for 8"dia casing of bore with SS impeller, high tensile SS shaft, copper wound squirrel cage wet type induction motor 2880 rpm, 415 V, 50 Hz, 3 Phase AC supply, conforming to IS: 8034-1976, capacity 100 litre per minute at 70-120 m head along with adireclty coupled submersible type squirrel cage electric induction 1.5 HP motor suitable for operation on 400 V, 3 phase, 50 c.p.s AC supply, water lubricated bearings and provided with pivoted segment type thrust bearings to withstand non-vertical lead with minimum wear and tear and duly fitted with device to take up the expansion of water with heating of motor, including supply, testing and commissioning of electrical panel from the same manufacturer, complete with all accessories in all respects. The contractor to obtain approval for model and make of pumpset & suitable Electrical panel after having hield report of fully developed borewell and submit acutal bore strata chart.Insulated cable end termination along with its accessories complete as required. Also supply and making straight through joint heat shrinkable type of size 4 x 4 sqmm copper |  | 1 | LS | 50000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | DRINKING WATER FACILITY
14.01 | supply and installation of floor standing RO & UV Purifier water cooler having purification capacity upto 50L/hr , inlet storage capacity of 50ltr .Automation Grade Automatic Plant Area 461 X 582 X 1441 mm Number of Membranes in RO 3 230 V Max Water Recovery Rate 50-55 % Number of Filtration Passes 5 Purification Type.RO Water purifier and water cooler.RO Capacity (LPH) 50 LPH RO+UV+Sediment+carbon.Material of construction -outer pannel stainless steel AUS J1 grade .2nosof cold water compressor ,Hermitically sealer ,reciporting compressor ,condensor propeller fan refrigerant used R-134A .Temprature range 10-25 deg C,RO brand-Usha Cooler SS4080 and Lexpure 50LPH,KENT,Eureka Forbes Aquaguard Reviva ETC BRAND and including cost conveyance,taxes etc complete as per manufacturer's specification or complete as per the direction of Engineer . |  | 1 | NOS | 143514 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | SEPTIC TANK
15.01 | Earth work in excavation of foundation in hard soil or gravelly soil including dressing and leveling the bed and disposal of the excavated materials within initial leads and lifts as per direction of E.I.C. Septic Tank-11x3.3x1.2 Exacavation Work upto 1.5 mtrs Soak pit |  | 77.785 | Cum | 167.999 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.02 | Supplying & filling foundation and plinth with sand well watered and rammed including cost, cost of all labour, carriage, royalty, taxes, T&P etc complete. Septic Tank total excavation volume |  | 36.748 | Cum | 912.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.03 | Cement Concrete (1:3:6) using 40mm size hard granite C.B. metal approved quality from approved quarry including hoisting laying using concrete mixture and vibrators including cost, carriage, royalty, cost of all labour T.&P. etc complete and as directed by E.I.C. Septic Tank |  | 5.448 | Cum | 5560.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.04 | Filling of 12mm aggregate in soak pit Soak Pit Filling, Soat pit filling-brick bats |  | 2.826 | Cum | 1971.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.05 | R C.C. M-25 grade with 20mm and down grade b.h. granite C.B. chips of approved quality from approved quarry including watering, curing, cost, carriage, royalty & taxes of all materials and labour, T&P etc complete. Septic Tank Soak pit |  | 4.431 | Cum | 6327.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.06 | Providing M.S. reinforcement for R.C.C. work including cutting, bending, binding and tying the grills and placing in position including cost of binding wire 18 to 20 gauge and cost and carriage of steel. etc. complete. |  | 4.431 | qtl | 8666.901 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.07 | Brick work with Fly Ash bricks 23cm x 12cm x 8cm size having crushing strength not less than 75Kg/cm2 with dimensional tolerance ±8 percent in cement mortar (1:6) in Foundation and Plinth including watering curing, cost of carriage, royalty and taxes of all materials, cost of all labour, T&P etc complete as per the direction of E.I.C. 230mm wall Saptic Tank, Baffle walls, Soak Pit |  | 11.976 | Cum | 6794.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15.08 | Supplying and fixing 500 mm dia C.I cover (medium duty) without frame for manholes. Weight of the cover not less than 58 kg. |  | 1 | Each | 3406 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | INTERNAL ELECTRIFICATION
16.01 | Recessed wiring to Light Point / Fan Point / Exhaust Fan Point / Call Bell Point with 1.50 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor of ISI marked with 20 mm dia non-metallic PVC flexible conduit with 5 Amp, 250 Volt piano type swich ISI marked and ceiling rose ISI marked mounted on MS box having front bakelite cover of suitable size, MS box with 1.0 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor of ISI marked as earth wire including all accesories and connection as per direction of engineer in charge. (Make of wire Finolex / L&T / Anchor / Havels / V Guard).a) Light point, Long |  | 12 | Nos | 2100.363 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.02 | Medium |  | 12 | Nos | 732.578 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.03 | Short |  | 12 | Nos | 432.597 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.04 | b) Celling fan point , Long |  | 5 | Nos | 2317.413 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.05 | Medium |  | 5 | Nos | 949.628 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.06 | Short |  | 5 | Nos | 649.647 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.07 | c) 5 A plug point |  | 15 | Nos | 440.824 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.08 | Recessed wiring for 15 / 16 Amp socket outlet with 2 X 4.00 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor of ISI marked with 20 mm dia non-metallic PVC flexible conduit with 5 Amp, 250 Volt piano type swich ISI marked, Phenolic laminated sheet of suitable size ISI marked MS box and earthing point with 1 X 2.50 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor for loop earthing etc. as required, as per direction of engineer in charge. (Make of wire Finolex / L&T / Anchor / Havels / V Guard) |  | 20 | Nos | 590.058 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.09 | Recessed wiring to Sub-Main in 2 X 2.50 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor of ISI marked with 20 mm dia non-metallic PVC heavy duty flexible conduit with 1.60 mm thick, along with 1 X 1.50 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor as earth wire as required as per direction of Engineer-in-Charge. (Make of wire Finolex / L&T / Anchor / Havels / V Guard) |  | 120 | metre | 161.996 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.1 | Recessed wiring to Sub-Main in 2 X 4.00 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor of ISI marked with 25 mm dia non-metallic PVC heavy duty flexible conduit with 1.60 mm thick, along with 1 X 2.50 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor as earth wire as required as per direction of Engineer-in-Charge. (Make of wire Finolex / L&T / Anchor / Havels / V Guard) |  | 80 | metre | 179.262 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.11 | Recessed wiring to Sub-Main in 2 X 10 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor of ISI marked with 25 mm dia non-metallic PVC heavy duty flexible conduit with 1.60 mm thick, along with 1 X 4 sq. mm FR PVC insulated Single Core Multi standard Copper Conductor as earth wire as required as per direction of Engineer-in-Charge. (Make of wire Finolex / L&T / Anchor / Havels / V Guard) |  | 50 | metre | 270.855 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.12 | Earthing with G.I earth pipe 3 mtr long 40 mm dia ISI mark including accessories and providing machinary enclosure with cover plate having locking arrengement and watering pipe etc. with charcol and salt etc. |  | 2 | No. | 3225.104 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.13 | Supply of material and installation of 50 mm dia 3 mtr long G.I pipe ISI mark safe earth electrodes (chemical earthing)including cost of electrode,earthing compound ,exacavation of earthing pit refilling etc as required -2nos |  | 2 | No. | 14500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.14 | Providing and fixing G.I tape 20 mm X 3 mm thick on parapet of surface of wall for lightning conductor complete as per direction of Engineer-in-charge. |  | 35 | Metre | 102.109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.15 | Providing and fixing Copper tape 32 mm X 6 mm from earth electrode directly in ground as required. |  | 35 | Metre | 615.718 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.16 | Supply , fixing and fitting of 11 watt LED BULB ( make Philips / Bajaj/ Cromption or Equivalent) |  | 20 | No. | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.17 | Supply & fixing of single spot light of 18 watts complete with 1 no. 18 watt of approved make complete with all necessary fixing materials including termination & labour ( make:- Philips/ Bajaj/ Crompton of Equivalent) |  | 5 | No. | 2267 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.18 | Supply, installation, Testting and commissioni of celling fan 1200 mm sweep 230/250 volts , 50 Hz, complete with suitable, clamp, downrod, blades, connections with 1.5 sq. mm PVC insulated copper conductor cable et as required and fan hook made of 16mm M.S. rod in R.C.C roof complete with all accessories. |  | 15 | No. | 2380 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.19 | Supply and Installation of 150mm sweep 2600 RPM, 400CMH (235CFM) (totally enclosed motor type exhaust fan (with bird screen) suitable for operation on 230Volts, 50 HZ single phase AC power supply along with its power point wiring (Supply, fixing, connection and testing of 3-pin 6 A power plug socket with/without 6A switch with top cover plate, PVC back box suitable for modular plate with all accessories to complete the job.) controlled by 6A switch and mounting plate with necessary accessories and gravity louvers shutters rigid frame with rubber mountings and conforming to IS-2312 (with latest amendments), including grouting of bolts for installation, supply of all materials required for interconnections complete as required as per drawing & site conditions and as directed by EIC. (Make- Crompton Greaves- Cat. Ref.-Flux Air 9") The Opening in wall/window for installation of exhaust will be provided by civil contractor. |  | 4 | No. | 1927 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.2 | Providing and fixing Single Pole MCB16amp with sheet steel enclosure, distribution board on surface / recess complete with tinned copper bus bar , neutral bus bar, earth bar, din bar, detachable gland plate inter connection phospate and powder painted including earthing etc. as per direction of Engineer-in-charge. |  | 8 | No. | 1775.429 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.21 | Supply, installation, testing and commissoning of 63amp TPN main switch of following capacity (IS 13940 part-3/19930 on existing surface / wall mounting and complete with HRC fuse links inter connections, earthing etc as per direction of Engineer-in-charge.9SEIMENS/HPL/ANCHOR/L&T/HAVELS/C&S/RK) |  | 3 | No. | 2315.703 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16.22 | Add Overhead charges & Contractor Profit 15% & |  | 1 | Set | 42793.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | CHILDREN PLAYING AREA
17.01 | Supplying and installation GE-02 or equivalent make Air walker equipment of Width 2'FT & Length 5'ft . fixing with concrete post other Finishes etc complete as per the direction of Engineer .(a) Moving Frame Pipe: 32mm Nominal Bore water proof, weather resistant G.I. Pipe(b) Foot Rest Frame/ Foot Rest Hinging Pipe: 25 mm Nominal Bore water proof, weather resistant G.I. Pipe (c) Connecting Links: 25 mm Nominal Bore water proof, weather resistant G.I Pipe.(d) Foundation Pipes with anchoring: 750 mm deep water proof, weather resistant G.I pipe supported with M.S Angle 25mm x 25mm x 4mm(e) Nominal Bore of Foundation Pipe: 125 mm.(f) Galvanization of Pipes: Zinc Coating in accordance with IS 4736 latest.(g) Nut Bolts for assembly: Stainless Steel (h) Paint: Powder coated , mat finish , thickness 80 to120 micron(j) Plastic part: Solid polyethylene , UV stabilized/ equivalent, weather resistant.(k) Bearings: Maintenance free ball bearings (l) Maximum user weight: 120 Kg (m) Maximum breaking point: 150 Kg (n) Min weight of machine: 35 to 40 Kg (o) Should have exercise instructional plates of stainless steel . Size 150 x 230 x 0.7 mm (p) Seat and back rest : 2mm thick GI seat with uniform bending radius to avoid sharp edges. (q) Foot Rest: Fibre Reinforced plastic (r) Closing caps of pipes, bushes, bearings and base: Stainless steel of 2mm thickness (s) MS Foundation plate thickness : 10 mm (t) Dimension minimum: length: 2000mm width: 650 mm height: 1700 mm |  | 1 | nos | 53493 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.02 | supply and installation of children play equipment on location as shown in drawing of as directed by engineer, model no. GIS.10106 wave slide of Sikha Solution or equivalent (size L12 X W2.3 X H7 feet) with ISO :9001 Certification,including cost of material,conveyance,royalities,taxes of the material, cost of all labour, T&P etc.as directed by engineer -in-charge complete. |  | 1 | nos | 139800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.03 | supply and installation GE-19 Rider gym equipment or equivalent make with size of Width 2.2'FT & Length 3'ft(a) Moving Frame Pipe: 32mm Nominal Bore water proof, weather resistant G.I. Pipe(b) Foot Rest Frame/ Foot Rest Hinging Pipe: 25 mm Nominal Bore water proof, weather resistant G.I. Pipe (c) Connecting Links: 25 mm Nominal Bore water proof, weather resistant G.I Pipe.(d) Foundation Pipes with anchoring: 750 mm deep water proof, weather resistant G.I pipe supported with M.S Angle 25mm x 25mm x 4mm(e) Nominal Bore of Foundation Pipe: 125 mm.(f) Galvanization of Pipes: Zinc Coating in accordance with IS 4736 latest.(g) Nut Bolts for assembly: Stainless Steel (h) Paint: Powder coated , mat finish , thickness 80 to120 micron(j) Plastic part: Solid polyethylene , UV stabilized/ equivalent, weather resistant.(k) Bearings: Maintenance free ball bearings (l) Maximum user weight: 120 Kg (m) Maximum breaking point: 150 Kg (n) Min weight of machine: 35 to 40 Kg (o) Should have exercise instructional plates of stainless steel . Size 150 x 230 x 0.7 mm (p) Seat and back rest : 2mm thick GI seat with uniform bending radius to avoid sharp edges. (q) Foot Rest: Fibre Reinforced plastic (r) Closing caps of pipes, bushes, bearings and base: Stainless steel of 2mm thickness (s) MS Foundation plate thickness : 10 mm (t) Dimension minimum: length: 2000mm width: 650 mm height: 1700 mm |  | 1 | nos | 51642 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.04 | Providing and fixing in position Flying Butterfly of approved design and make of minimum 2.0m X 1.Sm size ( Safe Play area minimum.2.5m X 2.0m) with minimum over all height 1500 mm from ground consisting of: 1. SWING TOP (frame structure fixed to horizontal top member 50 NB GI pipe) 2. BEARING ASSEMBLY: ( Two nos. of block bearing assembly mounted on the frame at swing top) 3. FLYING BUTTERFLY SIDE FRAMES (25NB & lSNB GI pipe bend and fixed to form a structural frame bolted to bearing assembly), 4. SWING LEGS(40 NB GI pipes, 2300 mm long, 4 nos) lnduding fixing each supporting leg/ anchoring arm of playing instrument with foundation angle/base angle/ base plate/tor rod etc. in 1:11/2:3 grade concrete block of 0.45 x 0.45 x 0.45 m size excavation for concrete block pit, curing etc.all complete . |  | 1 | nos | 48421 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.05 | Providing and fixing in position Double Arch swing of approved design and make of minimum 3.0m X 1.0m size ( Safe Play area minimum.4.0m X 7.0m)with minimum over all height 2400 mm from ground consisting of: 1. TOP PIPE:(50 NB hot dip GI Pipe of minimum length of 2800 mm with two arch swing flanges welded at both the end) 2. MAIN FRAME: ( Pair of 80 NB hot dip GI Pipe of minimum height 2800 mm welded together with flange with 25 NB hot dip GI Pipe spacer) 3. CHAIN (Rubber dip molded swing chain of dia.6mm & 1450mm Long), 4. S-HOOK(dia 8mm & 145x130 Triangular hook of SS 304 Grade), 5. RUBBER SEAT (Molded anti-skid Rubber Seat tested for rubber hardness as per Shore Durometer Type A scale conforming ASTM D2240 having value of approx.5O), 6. Swing clamp: (molded nylon -6 plastic) Including fixing each supporting leg/ anchoring arm of playing Instrument with foundation angle/base angle/ base plate/tor rod etc. In 1:11/2:3 grade concrete block of 0.45 x 0.45 x 0.45 m size excavation for concrete block pit, curing etc.all complete . |  | 1 | nos | 72088 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.06 | Providing and fixing In position FRP Merry Go Round (MGR) of approved design and make of minimum area 1.8meter dia, (Safe Play area minimum 3.0m dia),over all minimum 900 mm height from ground consisting of 1. FRP PLATFORM (Minimum 5MM Thick, 1800 mm dia with checkered texture) 2. PLATFORM SUPPORTING (structured frame of IAS- 40x40x5 & 25x25x5,ISF-130x50x10 & 65x50x5 welded together, Triangular frame. OF 75x40x5 C channel), 3. CENTER SUPPORT (80NB 500 mm long GI pipe with 150x150mm base plate ,with Ball Bearing no. 62092 and Taper Roller Bearing no. 30209) 4. RAILING OVER PLATFORM (3 nos 20NB G.I Pipe with GI Railing frame conforming to EN 1176-1:1998 lndudlng fixing each supporting leg/ anchoring arm of playing instrument with foundation angle/base angle/ base plate/tor rod etc. In 1:11/2:3 grade concrete block of 0.45 x 0.45 x 0.45 m size excavation for concrete block pit, curing etc. all complete |  | 2 | nos | 50648 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | PHOTOGRAPHY ZONE MISCELLANEOUS (ORNAMENTAL LIGHTS & HANDCRAFT ITEM)
18.01 | SELFIE POINT Abstract bamboo installation features large circular arches (3” dia) with radiating poles(1”th) Arch dia- 8’ Bamboo Shingles/Slats: 1-2’ long, 4-6” wide, 0.25-0.5” thick Bamboo Mats: 6-8’ long, 3-4’ wide, 0.25-0.5” thick Metal Stakes: 24-36 “ long, 0.5-1 “ in dia . Auger Anchors: 36-48” long, 6-8 “ helix dia. Concrete Footings: 12-18” dia , 24-36 “ depth, reinforced with rebar Rope/Twine: 0.25-0.5 “ Screws/Bolts: 3-6 “ in length, 0.25-0.5 “ dia Brackets: 4-6 “ length, 0.125-0.25 in th U-Bolts: 0.25-0.5 “ dia , 3-6” length |  | 20 | sqm | 21400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information